## Notes
Notes: |  | Verification
1) | This spreadsheet assumed a maximum of 500 calibration steps. | Calibration
2) | Data should be input into highlighted cells only.
3) | "Calculation" sheet should not be edited.

## Input
Nominal Linear Potentiometer Stroke, in. =
Displacement Cycle 1 |  |  | Displacement Cycle 2
Gage Block(s) Thickness | Measured Output | Excitation Voltage | Gage Block(s) Thickness | Measured Output | Excitation Voltage
[in.] | [V] | [V] | [in.] | [V] | [V]

## Calculation
Calibration Cycle 1 | [9 empty] | Calibration Cycle 2 | [9 empty] | Both Cycles
|  |  | Nominal Linear Potentiometer Stroke, in. = | 0 |  | Effective Length, in. = | #VALUE! | [5 empty] | Nominal Linear Potentiometer Stroke, in. = | 0 |  | Effective Length, in. = | #VALUE! |  |  |  |  | Average Effective Length, in. = | #VALUE!
|  |  | Avg. Excitation Voltage During Calibration, V = | #DIV/0! | [8 empty] | Avg. Excitation Voltage During Calibration, V = | #DIV/0! | [7 empty] | Peak Error, % = | 0%
|  |  | No. of Samples = | 0 | [8 empty] | No. of Samples = | 0
[8 empty] | For Plot | [9 empty] | For Plot |  |  | Cycle 1 |  |  | Cycle 2
| Gage Block(s) Thickness | Zeroed Gage Block(s) Thickness | Measured Output | Zeroed Output | Zeroed Output/Exc | Calculated Distance | Error | Zeroed Gage Block(s) Thickness | Calculated Distance |  | Gage Block(s) Thickness | Zeroed Gage Block(s) Thickness | Measured Output | Zeroed Output | Zeroed Output/Exc | Calculated Distance | Error | Zeroed Gage Block(s) Thickness | Calculated Distance |  | Zeroed Gage Block(s) Thickness | Calculated Distance | Error | Zeroed Gage Block(s) Thickness | Calculated Distance | Error
| [in.] | [in.] | [V] | [V] | [V/V] | [in.] | [%] | [in.] | [in.] |  | [in.] | [in.] | [V] | [V] | [V/V] | [in.] | [%] | [in.] | [in.] |  | [in.] | [in.] | [%FS] | [in.] | [in.] | [%FS]
1 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
2 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
3 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
4 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
5 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
6 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
7 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
8 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
9 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
10 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
11 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
12 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
13 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
14 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
15 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
16 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
17 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
18 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
19 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
20 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
21 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
22 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
23 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
24 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
25 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
26 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
27 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
28 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
29 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
30 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
31 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
32 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
33 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
34 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
35 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
36 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
37 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
38 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
39 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
40 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
41 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
42 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
43 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
44 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
45 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
46 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
47 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
48 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
49 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
50 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
51 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
52 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
53 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
54 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
55 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
56 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
57 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
58 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
59 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
60 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
61 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
62 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
63 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
64 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
65 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
66 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
67 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
68 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
69 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
70 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
71 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
72 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
73 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
74 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
75 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
76 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
77 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
78 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
79 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
80 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
81 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
82 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
83 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
84 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
85 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
86 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
87 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
88 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
89 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
90 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
91 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
92 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
93 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
94 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
95 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
96 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
97 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
98 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
99 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
100 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
101 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
102 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
103 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
104 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
105 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
106 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
107 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
108 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
109 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
110 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
111 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
112 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
113 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
114 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
115 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
116 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
117 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
118 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
119 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
120 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
121 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
122 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
123 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
124 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
125 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
126 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
127 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
128 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
129 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
130 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
131 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
132 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
133 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
134 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
135 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
136 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
137 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
138 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
139 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
140 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
141 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
142 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
143 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
144 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
145 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
146 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
147 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
148 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
149 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
150 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
151 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
152 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
153 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
154 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
155 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
156 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
157 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
158 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
159 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
160 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
161 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
162 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
163 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
164 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
165 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
166 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
167 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
168 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
169 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
170 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
171 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
172 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
173 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
174 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
175 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
176 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
177 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
178 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
179 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
180 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
181 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
182 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
183 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
184 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
185 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
186 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
187 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
188 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
189 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
190 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
191 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
192 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
193 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
194 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
195 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
196 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
197 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
198 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
199 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
200 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
201 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
202 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
203 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
204 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
205 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
206 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
207 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
208 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
209 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
210 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
211 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
212 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
213 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
214 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
215 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
216 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
217 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
218 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
219 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
220 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
221 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
222 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
223 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
224 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
225 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
226 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
227 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
228 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
229 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
230 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
231 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
232 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
233 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
234 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
235 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
236 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
237 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
238 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
239 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
240 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
241 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
242 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
243 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
244 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
245 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
246 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
247 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
248 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
249 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
250 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
251 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
252 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
253 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
254 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
255 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
256 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
257 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
258 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
259 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
260 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
261 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
262 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
263 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
264 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
265 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
266 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
267 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
268 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
269 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
270 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
271 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
272 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
273 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
274 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
275 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
276 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
277 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
278 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
279 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
280 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
281 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
282 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
283 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
284 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
285 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
286 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
287 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
288 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
289 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
290 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
291 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
292 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
293 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
294 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
295 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
296 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
297 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
298 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
299 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
300 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
301 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
302 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
303 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
304 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
305 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
306 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
307 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
308 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
309 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
310 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
311 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
312 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
313 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
314 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
315 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
316 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
317 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
318 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
319 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
320 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
321 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
322 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
323 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
324 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
325 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
326 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
327 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
328 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
329 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
330 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
331 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
332 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
333 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
334 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
335 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
336 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
337 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
338 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
339 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
340 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
341 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
342 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
343 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
344 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
345 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
346 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
347 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
348 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
349 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
350 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
351 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
352 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
353 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
354 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
355 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
356 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
357 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
358 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
359 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
360 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
361 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
362 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
363 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
364 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
365 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
366 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
367 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
368 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
369 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
370 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
371 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
372 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
373 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
374 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
375 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
376 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
377 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
378 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
379 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
380 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
381 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
382 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
383 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
384 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
385 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
386 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
387 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
388 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
389 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
390 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
391 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
392 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
393 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
394 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
395 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
396 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
397 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
398 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
399 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
400 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
401 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
402 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
403 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
404 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
405 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
406 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
407 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
408 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
409 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
410 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
411 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
412 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
413 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
414 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
415 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
416 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
417 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
418 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
419 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
420 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
421 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
422 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
423 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
424 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
425 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
426 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
427 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
428 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
429 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
430 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
431 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
432 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
433 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
434 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
435 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
436 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
437 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
438 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
439 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
440 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
441 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
442 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
443 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
444 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
445 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
446 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
447 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
448 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
449 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
450 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
451 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
452 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
453 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
454 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
455 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
456 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
457 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
458 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
459 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
460 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
461 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
462 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
463 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
464 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
465 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
466 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
467 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
468 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
469 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
470 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
471 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
472 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
473 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
474 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
475 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
476 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
477 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
478 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
479 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
480 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
481 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
482 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
483 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
484 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
485 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
486 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
487 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
488 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
489 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
490 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
491 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
492 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
493 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
494 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
495 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
496 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
497 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
498 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
499 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A
500 | [7 empty] | #N/A | #N/A | [8 empty] | #N/A | #N/A

## Calibration Results
LINEAR POTENTIOMETER INFORMATION
Manufacturer:
Model:
Serial No.:
FSEL Inventory No.:
Nominal Stroke, in.:
Calibration Range, in.:
DATA ACQUISITION USED FOR CALIBRATION
Manufacturer:
Model:
Serial No.:
Channel:
Nominal Excitation Voltage:
CALIBRATION DATA
Run 1 |  |  | Run 2
Applied Displacement | Indicated Displacement | Error | Applied Displacement | Indicated Displacement | Error
[in.] | [in.] | [% of Full Scale] | [lbf] | [lbf] | [% of Full Scale]
=> Note: Add or subtract rows as needed to show all calibration data.
CALIBRATION RESULTS
| Nominal Range, in. = | 0
| Effective Length, in. = | #VALUE!
| Maximum Error, % Full Scale = | 0
| Maximum Error, in. = | 0
CALIBRATION STANDARDS
Manufacturer | Model | Serial No. | Due Date: | Gauge Block Type
OPERATOR
Name: |  |  |  | Date:

## Revision Record
Revision | Date | Affected Pages | Description of Revisions
0 | MM/DD/YYYY | All | Initial Issue
1 | 2018-03-08 | Input | Add input for excitiation voltage at each measurement point