## Notes
Notes:
1) | This spreadsheet assumed a maximum of 500 calibration steps.
2) | Data should be input into highlighted cells only.
3) | "Calculation" sheet should not be edited.
4) | The "Input" sheet assumes that an Agilent/Keysight system is used for recording calibration data. If using Campbell Scientific hardware, the "Bridge Output [V]" should be calculated as the output from the logger channel to which the load cell is connected in [mV/V] times the excititaion voltage in [V] times 1000 (unit conversion from V to mV).

## Input
|  | Nominal Load Cell Capacity, lb = | 500000
|  | Avg. Excitation Voltage During Calibration, V = | 10.0119
Load Cyle 1 |  | Load Cyle 2
Applied Load | Bridge Output | Applied Load | Bridge Output
[lb] | [V] | [lb] | [V]
1.5 | -3.0145e-06 | -3.5 | -3.0145e-06
999.3 | 4.2537e-05 | 999.1 | 4.2203e-05
5002.9 | 0.00022508 | 4985.1 | 0.00022709
9963.2 | 0.00044983 | 9931.8 | 0.0004525
20006 | 0.00090099 | 20000 | 0.00089764
39999 | 0.0018057 | 40005 | 0.0018073
60006 | 0.0027113 | 60005 | 0.002713
79990 | 0.0036231 | 79989 | 0.0036227
99740 | 0.0045237 | 99765 | 0.0045247
199992 | 0.0090866 | 199999 | 0.0090823
299990 | 0.013647 | 299992 | 0.013642
399982 | 0.018196 | 399982 | 0.018192
499620 | 0.02275 | 499525 | 0.022723

## Calculation
Calibration Cycle 1 | [21 empty] | Calibration Cycle 2 | [21 empty] | Both Calibration Cycles
|  | Load Range, lb = | 500000 | [20 empty] | Load Range, lb = | 500000
|  | Avg. Excitation Voltage, V = | 10.0119 | [20 empty] | Avg. Excitation Voltage, V = | 10.0119
|  | No. of Samples = | 13 | [20 empty] | No. of Samples = | 13 | [18 empty] | Load Cycle 1 |  |  |  |  | Load Cycle 2
[7 empty] | Calculations Based on Average |  |  |  | Calculations Based on Least-Squares |  |  | Plot Data | [14 empty] | Calculations Based on Average |  |  |  | Calculations Based on Least-Squares |  |  | Plot Data | [8 empty] | Avg. Calculations |  | L.S. Calculations |  |  | Avg. Calculations |  | L.S. Calculations
| Applied Load | Bridge Output | Bridge Output | Zeroed Applied Load | Zeroed Bridge Output | Applied Load/Range | Individual Sensitiviy | Calculated Load | Error | Error | Calculated Load | Error | Error | Zeroed Applied Load | Zeroed Bridge Output | Error (Avg.) | Error (L.S.) | [5 empty] | Applied Load | Bridge Output | Bridge Output | Zeroed Applied Load | Zeroed Bridge Output | Applied Load/Range | Individual Sensitiviy | Calculated Load | Error | Error | Calculated Load | Error | Error | Zeroed Applied Load | Zeroed Bridge Output | Error (Avg.) | Error (L.S.) |  |  |  |  | Applied Load | Calculated Load | Error | Calculated Load |  | Applied Load | Calculated Load |  | Calculated Load
| [lb] | [V] | [mV/V] | [lb] | [mV/V] | [% of Capacity] | [mV/V] | [lb] | [%] | [% Full Scale] | [lb] | [%] | [% Full Scale] | [lb] | [mV/V] | [% Full Scale] | [% Full Scale] | [5 empty] | [lb] | [V] | [mV/V] | [lb] | [mV/V] | [% of Capacity] | [mV/V] | [lb] | [%] | [% Full Scale] | [lb] | [%] | [% Full Scale] | [lb] | [mV/V] | [% Full Scale] | [% Full Scale] |  |  |  |  | [lb] | [lb] | [%FS] | [lb] | [%FS] | [lb] | [lb] | [%FS] | [lb] | [%FS] |  | Senstivity | Peak Error | Peak Error
1 | 1.5 | -3.0145e-06 | -0.00030109 | 0 | 0 | 0% | #DIV/0! | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0% | 0 | 0 | 0% | 0% |  |  |  |  | 1 | -3.5 | -3.0145e-06 | -0.00030109 | 0 | 0 | 0% | #DIV/0! | 0 | #DIV/0! | 0% | 0 | #DIV/0! | 0% | 0 | 0 | 0% | 0% |  |  |  |  | 0 | 0 |  | 0 |  | 0 | 0 |  | 0 |  |  | [mV/V] | [%FS] | [lb]
2 | 999.3 | 4.2537e-05 | 0.0042487 | 997.8 | 0.0045498 | 0.1996% | 2.2799 | 1002.8452 | -0.5056% | -0.001009% | 1000.4413 | -0.2647% | -0.0005283% | 997.8 | 0.0045498 | -0.001009% | -0.0005283% |  |  |  |  | 2 | 999.1 | 4.2203e-05 | 0.0042152 | 1002.6 | 0.0045163 | 0.2005% | 2.2523 | 995.4712 | 0.711% | 0.001426% | 993.085 | 0.949% | 0.001903% | 1002.6 | 0.0045163 | 0.001426% | 0.001903% |  |  |  |  | 997.8 | 1002.8452 | 0.001009% | 1000.8105 | 0.0006021% | 1002.6 | 995.4712 | -0.001426% | 993.4515 | -0.00183% | Average: | 2.2687 | 0.2591% | 1295.2925
3 | 5002.9 | 0.00022508 | 0.022481 | 5001.4 | 0.022782 | 1% | 2.2776 | 5021.5998 | -0.4039% | -0.00404% | 5009.5624 | -0.1632% | -0.001632% | 5001.4 | 0.022782 | -0.00404% | -0.001632% |  |  |  |  | 3 | 4985.1 | 0.00022709 | 0.022682 | 4988.6 | 0.022983 | 0.9977% | 2.3036 | 5065.8417 | -1.548% | -0.01545% | 5053.6982 | -1.305% | -0.01302% | 4988.6 | 0.022983 | -0.01545% | -0.01302% |  |  |  |  | 5001.4 | 5021.5998 | 0.00404% | 5011.4114 | 0.002002% | 4988.6 | 5065.8417 | 0.01545% | 5055.5635 | 0.01339% | Least Squares: | 2.2731 | 0.07846% | 392.3236
4 | 9963.2 | 0.00044983 | 0.044929 | 9961.7 | 0.04523 | 1.992% | 2.2702 | 9969.4598 | -0.0779% | -0.001552% | 9945.5618 | 0.162% | 0.003228% | 9961.7 | 0.04523 | -0.001552% | 0.003228% |  |  |  |  | 4 | 9931.8 | 0.0004525 | 0.045197 | 9935.3 | 0.045498 | 1.987% | 2.2897 | 10028.4518 | -0.9376% | -0.01863% | 10004.4124 | -0.6956% | -0.01382% | 9935.3 | 0.045498 | -0.01863% | -0.01382% |  |  |  |  | 9961.7 | 9969.4598 | 0.001552% | 9949.2325 | -0.002493% | 9935.3 | 10028.4518 | 0.01863% | 10008.1049 | 0.01456%
5 | 20006 | 0.00090099 | 0.089992 | 20004.5 | 0.090293 | 4.001% | 2.2568 | 19902.0531 | 0.5121% | 0.02049% | 19854.3454 | 0.7506% | 0.03003% | 20004.5 | 0.090293 | 0.02049% | 0.03003% |  |  |  |  | 5 | 20000 | 0.00089764 | 0.089658 | 20003.5 | 0.089959 | 4.001% | 2.2486 | 19828.313 | 0.8758% | 0.03504% | 19780.7821 | 1.113% | 0.04454% | 20003.5 | 0.089959 | 0.03504% | 0.04454% |  |  |  |  | 20004.5 | 19902.0531 | -0.02049% | 19861.6733 | -0.02857% | 20003.5 | 19828.313 | -0.03504% | 19788.0829 | -0.04308%
6 | 39999 | 0.0018057 | 0.18035 | 39997.5 | 0.18065 | 7.999% | 2.2583 | 39818.8588 | 0.4466% | 0.03573% | 39723.408 | 0.6853% | 0.05482% | 39997.5 | 0.18065 | 0.03573% | 0.05482% |  |  |  |  | 6 | 40005 | 0.0018073 | 0.18052 | 40008.5 | 0.18082 | 8.002% | 2.2598 | 39855.7123 | 0.3819% | 0.03056% | 39760.1732 | 0.6207% | 0.04967% | 40008.5 | 0.18082 | 0.03056% | 0.04967% |  |  |  |  | 39997.5 | 39818.8588 | -0.03573% | 39738.0693 | -0.05189% | 40008.5 | 39855.7123 | -0.03056% | 39774.8481 | -0.04673%
7 | 60006 | 0.0027113 | 0.27081 | 60004.5 | 0.27111 | 12% | 2.2591 | 59757.77 | 0.4112% | 0.04935% | 59614.5232 | 0.6499% | 0.078% | 60004.5 | 0.27111 | 0.04935% | 0.078% |  |  |  |  | 7 | 60005 | 0.002713 | 0.27098 | 60008.5 | 0.27128 | 12% | 2.2604 | 59794.6455 | 0.3564% | 0.04277% | 59651.3103 | 0.5952% | 0.07144% | 60008.5 | 0.27128 | 0.04277% | 0.07144% |  |  |  |  | 60004.5 | 59757.77 | -0.04935% | 59636.526 | -0.07359% | 60008.5 | 59794.6455 | -0.04277% | 59673.3267 | -0.06703%
8 | 79990 | 0.0036231 | 0.36188 | 79988.5 | 0.36218 | 16% | 2.2639 | 79829.4154 | 0.1989% | 0.03182% | 79638.0544 | 0.4381% | 0.07009% | 79988.5 | 0.36218 | 0.03182% | 0.07009% |  |  |  |  | 8 | 79989 | 0.0036227 | 0.36184 | 79992.5 | 0.36214 | 16% | 2.2636 | 79822.0536 | 0.2131% | 0.03409% | 79630.7102 | 0.4523% | 0.07236% | 79992.5 | 0.36214 | 0.03409% | 0.07236% |  |  |  |  | 79988.5 | 79829.4154 | -0.03182% | 79667.4476 | -0.06421% | 79992.5 | 79822.0536 | -0.03409% | 79660.1007 | -0.06648%
9 | 99740 | 0.0045237 | 0.45183 | 99738.5 | 0.45214 | 19.95% | 2.2666 | 99657.7441 | 0.08097% | 0.01615% | 99418.8521 | 0.3205% | 0.06393% | 99738.5 | 0.45214 | 0.01615% | 0.06393% |  |  |  |  | 9 | 99765 | 0.0045247 | 0.45193 | 99768.5 | 0.45224 | 19.95% | 2.2664 | 99679.8518 | 0.08885% | 0.01773% | 99440.9068 | 0.3284% | 0.06552% | 99768.5 | 0.45224 | 0.01773% | 0.06552% |  |  |  |  | 99738.5 | 99657.7441 | -0.01615% | 99455.5461 | -0.05659% | 99768.5 | 99679.8518 | -0.01773% | 99477.6089 | -0.05818%
10 | 199992 | 0.0090866 | 0.90758 | 199990.5 | 0.90788 | 40% | 2.2698 | 200111.8524 | -0.06068% | -0.02427% | 199632.1594 | 0.1792% | 0.07167% | 199990.5 | 0.90788 | -0.02427% | 0.07167% |  |  |  |  | 10 | 199999 | 0.0090823 | 0.90715 | 200002.5 | 0.90745 | 40% | 2.2686 | 200015.9936 | -0.006747% | -0.002699% | 199536.5305 | 0.233% | 0.09319% | 200002.5 | 0.90745 | -0.002699% | 0.09319% |  |  |  |  | 199990.5 | 200111.8524 | 0.02427% | 199705.8406 | -0.05693% | 200002.5 | 200015.9936 | 0.002699% | 199610.1764 | -0.07846%
11 | 299990 | 0.013647 | 1.3631 | 299988.5 | 1.3634 | 60% | 2.2724 | 300507.0215 | -0.1728% | -0.1037% | 299786.6689 | 0.06728% | 0.04037% | 299988.5 | 1.3634 | -0.1037% | 0.04037% |  |  |  |  | 11 | 299992 | 0.013642 | 1.3626 | 299995.5 | 1.3629 | 60% | 2.2716 | 300411.1407 | -0.1385% | -0.08313% | 299691.0179 | 0.1015% | 0.0609% | 299995.5 | 1.3629 | -0.08313% | 0.0609% |  |  |  |  | 299988.5 | 300507.0215 | 0.1037% | 299897.3156 | -0.01824% | 299995.5 | 300411.1407 | 0.08313% | 299801.6293 | -0.03877%
12 | 399982 | 0.018196 | 1.8174 | 399980.5 | 1.8177 | 80% | 2.2723 | 400658.8297 | -0.1696% | -0.1357% | 399698.4008 | 0.07053% | 0.05642% | 399980.5 | 1.8177 | -0.1357% | 0.05642% |  |  |  |  | 12 | 399982 | 0.018192 | 1.817 | 399985.5 | 1.8173 | 80% | 2.2718 | 400570.2226 | -0.1462% | -0.1169% | 399610.0061 | 0.09388% | 0.0751% | 399985.5 | 1.8173 | -0.1169% | 0.0751% |  |  |  |  | 399980.5 | 400658.8297 | 0.1357% | 399845.9234 | -0.02692% | 399985.5 | 400570.2226 | 0.1169% | 399757.4961 | -0.0456%
13 | 499620 | 0.02275 | 2.2723 | 499618.5 | 2.2726 | 99.92% | 2.2743 | 500913.7925 | -0.2593% | -0.2591% | 499713.0399 | -0.01892% | -0.01891% | 499618.5 | 2.2726 | -0.2591% | -0.01891% |  |  |  |  | 13 | 499525 | 0.022723 | 2.2696 | 499528.5 | 2.2699 | 99.91% | 2.272 | 500316.466 | -0.1577% | -0.1576% | 499117.1454 | 0.08235% | 0.08227% | 499528.5 | 2.2699 | -0.1576% | 0.08227% |  |  |  |  | 499618.5 | 500913.7925 | 0.2591% | 499897.4765 | 0.0558% | 499528.5 | 500316.466 | 0.1576% | 499301.3619 | -0.04543%
14 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 14 | [13 empty] | #N/A | #N/A | #N/A | #N/A
15 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 15 | [13 empty] | #N/A | #N/A | #N/A | #N/A
16 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 16 | [13 empty] | #N/A | #N/A | #N/A | #N/A
17 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 17 | [13 empty] | #N/A | #N/A | #N/A | #N/A
18 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 18 | [13 empty] | #N/A | #N/A | #N/A | #N/A
19 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 19 | [13 empty] | #N/A | #N/A | #N/A | #N/A
20 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 20 | [13 empty] | #N/A | #N/A | #N/A | #N/A
21 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 21 | [13 empty] | #N/A | #N/A | #N/A | #N/A
22 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 22 | [13 empty] | #N/A | #N/A | #N/A | #N/A
23 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 23 | [13 empty] | #N/A | #N/A | #N/A | #N/A
24 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | Senstivity | Max Error | Min Error | 24 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | Senstivity | Max Error | Min Error
25 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | [mV/V] | [%FS] | [%FS] | 25 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | [mV/V] | [%] | [%]
26 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Average: | 2.2684 | 0.04935% | -0.2591% | 26 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Average: | 2.269 | 0.04277% | -0.08313%
27 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Least Squares: | 2.2739 | 0.078% | -0.01891% | 27 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Least Squares: | 2.2722 | 0.09319% | -0.01382%
28 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 28 | [13 empty] | #N/A | #N/A | #N/A | #N/A
29 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 29 | [13 empty] | #N/A | #N/A | #N/A | #N/A
30 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 30 | [13 empty] | #N/A | #N/A | #N/A | #N/A
31 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 31 | [13 empty] | #N/A | #N/A | #N/A | #N/A
32 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 32 | [13 empty] | #N/A | #N/A | #N/A | #N/A
33 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 33 | [13 empty] | #N/A | #N/A | #N/A | #N/A
34 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 34 | [13 empty] | #N/A | #N/A | #N/A | #N/A
35 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 35 | [13 empty] | #N/A | #N/A | #N/A | #N/A
36 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 36 | [13 empty] | #N/A | #N/A | #N/A | #N/A
37 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 37 | [13 empty] | #N/A | #N/A | #N/A | #N/A
38 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 38 | [13 empty] | #N/A | #N/A | #N/A | #N/A
39 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 39 | [13 empty] | #N/A | #N/A | #N/A | #N/A
40 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 40 | [13 empty] | #N/A | #N/A | #N/A | #N/A
41 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 41 | [13 empty] | #N/A | #N/A | #N/A | #N/A
42 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 42 | [13 empty] | #N/A | #N/A | #N/A | #N/A
43 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 43 | [13 empty] | #N/A | #N/A | #N/A | #N/A
44 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 44 | [13 empty] | #N/A | #N/A | #N/A | #N/A
45 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 45 | [13 empty] | #N/A | #N/A | #N/A | #N/A
46 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 46 | [13 empty] | #N/A | #N/A | #N/A | #N/A
47 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 47 | [13 empty] | #N/A | #N/A | #N/A | #N/A
48 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 48 | [13 empty] | #N/A | #N/A | #N/A | #N/A
49 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 49 | [13 empty] | #N/A | #N/A | #N/A | #N/A
50 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 50 | [13 empty] | #N/A | #N/A | #N/A | #N/A
51 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 51 | [13 empty] | #N/A | #N/A | #N/A | #N/A
52 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 52 | [13 empty] | #N/A | #N/A | #N/A | #N/A
53 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 53 | [13 empty] | #N/A | #N/A | #N/A | #N/A
54 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 54 | [13 empty] | #N/A | #N/A | #N/A | #N/A
55 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 55 | [13 empty] | #N/A | #N/A | #N/A | #N/A
56 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 56 | [13 empty] | #N/A | #N/A | #N/A | #N/A
57 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 57 | [13 empty] | #N/A | #N/A | #N/A | #N/A
58 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 58 | [13 empty] | #N/A | #N/A | #N/A | #N/A
59 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 59 | [13 empty] | #N/A | #N/A | #N/A | #N/A
60 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 60 | [13 empty] | #N/A | #N/A | #N/A | #N/A
61 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 61 | [13 empty] | #N/A | #N/A | #N/A | #N/A
62 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 62 | [13 empty] | #N/A | #N/A | #N/A | #N/A
63 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 63 | [13 empty] | #N/A | #N/A | #N/A | #N/A
64 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 64 | [13 empty] | #N/A | #N/A | #N/A | #N/A
65 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 65 | [13 empty] | #N/A | #N/A | #N/A | #N/A
66 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 66 | [13 empty] | #N/A | #N/A | #N/A | #N/A
67 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 67 | [13 empty] | #N/A | #N/A | #N/A | #N/A
68 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 68 | [13 empty] | #N/A | #N/A | #N/A | #N/A
69 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 69 | [13 empty] | #N/A | #N/A | #N/A | #N/A
70 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 70 | [13 empty] | #N/A | #N/A | #N/A | #N/A
71 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 71 | [13 empty] | #N/A | #N/A | #N/A | #N/A
72 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 72 | [13 empty] | #N/A | #N/A | #N/A | #N/A
73 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 73 | [13 empty] | #N/A | #N/A | #N/A | #N/A
74 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 74 | [13 empty] | #N/A | #N/A | #N/A | #N/A
75 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 75 | [13 empty] | #N/A | #N/A | #N/A | #N/A
76 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 76 | [13 empty] | #N/A | #N/A | #N/A | #N/A
77 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 77 | [13 empty] | #N/A | #N/A | #N/A | #N/A
78 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 78 | [13 empty] | #N/A | #N/A | #N/A | #N/A
79 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 79 | [13 empty] | #N/A | #N/A | #N/A | #N/A
80 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 80 | [13 empty] | #N/A | #N/A | #N/A | #N/A
81 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 81 | [13 empty] | #N/A | #N/A | #N/A | #N/A
82 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 82 | [13 empty] | #N/A | #N/A | #N/A | #N/A
83 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 83 | [13 empty] | #N/A | #N/A | #N/A | #N/A
84 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 84 | [13 empty] | #N/A | #N/A | #N/A | #N/A
85 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 85 | [13 empty] | #N/A | #N/A | #N/A | #N/A
86 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 86 | [13 empty] | #N/A | #N/A | #N/A | #N/A
87 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 87 | [13 empty] | #N/A | #N/A | #N/A | #N/A
88 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 88 | [13 empty] | #N/A | #N/A | #N/A | #N/A
89 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 89 | [13 empty] | #N/A | #N/A | #N/A | #N/A
90 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 90 | [13 empty] | #N/A | #N/A | #N/A | #N/A
91 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 91 | [13 empty] | #N/A | #N/A | #N/A | #N/A
92 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 92 | [13 empty] | #N/A | #N/A | #N/A | #N/A
93 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 93 | [13 empty] | #N/A | #N/A | #N/A | #N/A
94 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 94 | [13 empty] | #N/A | #N/A | #N/A | #N/A
95 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 95 | [13 empty] | #N/A | #N/A | #N/A | #N/A
96 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 96 | [13 empty] | #N/A | #N/A | #N/A | #N/A
97 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 97 | [13 empty] | #N/A | #N/A | #N/A | #N/A
98 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 98 | [13 empty] | #N/A | #N/A | #N/A | #N/A
99 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 99 | [13 empty] | #N/A | #N/A | #N/A | #N/A
100 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 100 | [13 empty] | #N/A | #N/A | #N/A | #N/A
101 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 101 | [13 empty] | #N/A | #N/A | #N/A | #N/A
102 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 102 | [13 empty] | #N/A | #N/A | #N/A | #N/A
103 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 103 | [13 empty] | #N/A | #N/A | #N/A | #N/A
104 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 104 | [13 empty] | #N/A | #N/A | #N/A | #N/A
105 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 105 | [13 empty] | #N/A | #N/A | #N/A | #N/A
106 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 106 | [13 empty] | #N/A | #N/A | #N/A | #N/A
107 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 107 | [13 empty] | #N/A | #N/A | #N/A | #N/A
108 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 108 | [13 empty] | #N/A | #N/A | #N/A | #N/A
109 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 109 | [13 empty] | #N/A | #N/A | #N/A | #N/A
110 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 110 | [13 empty] | #N/A | #N/A | #N/A | #N/A
111 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 111 | [13 empty] | #N/A | #N/A | #N/A | #N/A
112 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 112 | [13 empty] | #N/A | #N/A | #N/A | #N/A
113 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 113 | [13 empty] | #N/A | #N/A | #N/A | #N/A
114 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 114 | [13 empty] | #N/A | #N/A | #N/A | #N/A
115 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 115 | [13 empty] | #N/A | #N/A | #N/A | #N/A
116 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 116 | [13 empty] | #N/A | #N/A | #N/A | #N/A
117 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 117 | [13 empty] | #N/A | #N/A | #N/A | #N/A
118 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 118 | [13 empty] | #N/A | #N/A | #N/A | #N/A
119 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 119 | [13 empty] | #N/A | #N/A | #N/A | #N/A
120 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 120 | [13 empty] | #N/A | #N/A | #N/A | #N/A
121 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 121 | [13 empty] | #N/A | #N/A | #N/A | #N/A
122 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 122 | [13 empty] | #N/A | #N/A | #N/A | #N/A
123 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 123 | [13 empty] | #N/A | #N/A | #N/A | #N/A
124 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 124 | [13 empty] | #N/A | #N/A | #N/A | #N/A
125 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 125 | [13 empty] | #N/A | #N/A | #N/A | #N/A
126 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 126 | [13 empty] | #N/A | #N/A | #N/A | #N/A
127 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 127 | [13 empty] | #N/A | #N/A | #N/A | #N/A
128 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 128 | [13 empty] | #N/A | #N/A | #N/A | #N/A
129 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 129 | [13 empty] | #N/A | #N/A | #N/A | #N/A
130 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 130 | [13 empty] | #N/A | #N/A | #N/A | #N/A
131 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 131 | [13 empty] | #N/A | #N/A | #N/A | #N/A
132 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 132 | [13 empty] | #N/A | #N/A | #N/A | #N/A
133 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 133 | [13 empty] | #N/A | #N/A | #N/A | #N/A
134 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 134 | [13 empty] | #N/A | #N/A | #N/A | #N/A
135 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 135 | [13 empty] | #N/A | #N/A | #N/A | #N/A
136 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 136 | [13 empty] | #N/A | #N/A | #N/A | #N/A
137 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 137 | [13 empty] | #N/A | #N/A | #N/A | #N/A
138 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 138 | [13 empty] | #N/A | #N/A | #N/A | #N/A
139 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 139 | [13 empty] | #N/A | #N/A | #N/A | #N/A
140 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 140 | [13 empty] | #N/A | #N/A | #N/A | #N/A
141 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 141 | [13 empty] | #N/A | #N/A | #N/A | #N/A
142 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 142 | [13 empty] | #N/A | #N/A | #N/A | #N/A
143 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 143 | [13 empty] | #N/A | #N/A | #N/A | #N/A
144 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 144 | [13 empty] | #N/A | #N/A | #N/A | #N/A
145 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 145 | [13 empty] | #N/A | #N/A | #N/A | #N/A
146 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 146 | [13 empty] | #N/A | #N/A | #N/A | #N/A
147 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 147 | [13 empty] | #N/A | #N/A | #N/A | #N/A
148 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 148 | [13 empty] | #N/A | #N/A | #N/A | #N/A
149 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 149 | [13 empty] | #N/A | #N/A | #N/A | #N/A
150 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 150 | [13 empty] | #N/A | #N/A | #N/A | #N/A
151 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 151 | [13 empty] | #N/A | #N/A | #N/A | #N/A
152 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 152 | [13 empty] | #N/A | #N/A | #N/A | #N/A
153 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 153 | [13 empty] | #N/A | #N/A | #N/A | #N/A
154 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 154 | [13 empty] | #N/A | #N/A | #N/A | #N/A
155 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 155 | [13 empty] | #N/A | #N/A | #N/A | #N/A
156 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 156 | [13 empty] | #N/A | #N/A | #N/A | #N/A
157 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 157 | [13 empty] | #N/A | #N/A | #N/A | #N/A
158 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 158 | [13 empty] | #N/A | #N/A | #N/A | #N/A
159 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 159 | [13 empty] | #N/A | #N/A | #N/A | #N/A
160 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 160 | [13 empty] | #N/A | #N/A | #N/A | #N/A
161 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 161 | [13 empty] | #N/A | #N/A | #N/A | #N/A
162 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 162 | [13 empty] | #N/A | #N/A | #N/A | #N/A
163 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 163 | [13 empty] | #N/A | #N/A | #N/A | #N/A
164 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 164 | [13 empty] | #N/A | #N/A | #N/A | #N/A
165 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 165 | [13 empty] | #N/A | #N/A | #N/A | #N/A
166 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 166 | [13 empty] | #N/A | #N/A | #N/A | #N/A
167 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 167 | [13 empty] | #N/A | #N/A | #N/A | #N/A
168 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 168 | [13 empty] | #N/A | #N/A | #N/A | #N/A
169 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 169 | [13 empty] | #N/A | #N/A | #N/A | #N/A
170 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 170 | [13 empty] | #N/A | #N/A | #N/A | #N/A
171 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 171 | [13 empty] | #N/A | #N/A | #N/A | #N/A
172 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 172 | [13 empty] | #N/A | #N/A | #N/A | #N/A
173 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 173 | [13 empty] | #N/A | #N/A | #N/A | #N/A
174 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 174 | [13 empty] | #N/A | #N/A | #N/A | #N/A
175 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 175 | [13 empty] | #N/A | #N/A | #N/A | #N/A
176 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 176 | [13 empty] | #N/A | #N/A | #N/A | #N/A
177 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 177 | [13 empty] | #N/A | #N/A | #N/A | #N/A
178 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 178 | [13 empty] | #N/A | #N/A | #N/A | #N/A
179 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 179 | [13 empty] | #N/A | #N/A | #N/A | #N/A
180 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 180 | [13 empty] | #N/A | #N/A | #N/A | #N/A
181 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 181 | [13 empty] | #N/A | #N/A | #N/A | #N/A
182 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 182 | [13 empty] | #N/A | #N/A | #N/A | #N/A
183 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 183 | [13 empty] | #N/A | #N/A | #N/A | #N/A
184 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 184 | [13 empty] | #N/A | #N/A | #N/A | #N/A
185 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 185 | [13 empty] | #N/A | #N/A | #N/A | #N/A
186 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 186 | [13 empty] | #N/A | #N/A | #N/A | #N/A
187 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 187 | [13 empty] | #N/A | #N/A | #N/A | #N/A
188 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 188 | [13 empty] | #N/A | #N/A | #N/A | #N/A
189 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 189 | [13 empty] | #N/A | #N/A | #N/A | #N/A
190 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 190 | [13 empty] | #N/A | #N/A | #N/A | #N/A
191 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 191 | [13 empty] | #N/A | #N/A | #N/A | #N/A
192 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 192 | [13 empty] | #N/A | #N/A | #N/A | #N/A
193 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 193 | [13 empty] | #N/A | #N/A | #N/A | #N/A
194 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 194 | [13 empty] | #N/A | #N/A | #N/A | #N/A
195 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 195 | [13 empty] | #N/A | #N/A | #N/A | #N/A
196 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 196 | [13 empty] | #N/A | #N/A | #N/A | #N/A
197 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 197 | [13 empty] | #N/A | #N/A | #N/A | #N/A
198 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 198 | [13 empty] | #N/A | #N/A | #N/A | #N/A
199 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 199 | [13 empty] | #N/A | #N/A | #N/A | #N/A
200 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 200 | [13 empty] | #N/A | #N/A | #N/A | #N/A
201 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 201 | [13 empty] | #N/A | #N/A | #N/A | #N/A
202 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 202 | [13 empty] | #N/A | #N/A | #N/A | #N/A
203 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 203 | [13 empty] | #N/A | #N/A | #N/A | #N/A
204 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 204 | [13 empty] | #N/A | #N/A | #N/A | #N/A
205 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 205 | [13 empty] | #N/A | #N/A | #N/A | #N/A
206 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 206 | [13 empty] | #N/A | #N/A | #N/A | #N/A
207 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 207 | [13 empty] | #N/A | #N/A | #N/A | #N/A
208 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 208 | [13 empty] | #N/A | #N/A | #N/A | #N/A
209 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 209 | [13 empty] | #N/A | #N/A | #N/A | #N/A
210 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 210 | [13 empty] | #N/A | #N/A | #N/A | #N/A
211 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 211 | [13 empty] | #N/A | #N/A | #N/A | #N/A
212 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 212 | [13 empty] | #N/A | #N/A | #N/A | #N/A
213 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 213 | [13 empty] | #N/A | #N/A | #N/A | #N/A
214 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 214 | [13 empty] | #N/A | #N/A | #N/A | #N/A
215 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 215 | [13 empty] | #N/A | #N/A | #N/A | #N/A
216 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 216 | [13 empty] | #N/A | #N/A | #N/A | #N/A
217 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 217 | [13 empty] | #N/A | #N/A | #N/A | #N/A
218 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 218 | [13 empty] | #N/A | #N/A | #N/A | #N/A
219 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 219 | [13 empty] | #N/A | #N/A | #N/A | #N/A
220 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 220 | [13 empty] | #N/A | #N/A | #N/A | #N/A
221 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 221 | [13 empty] | #N/A | #N/A | #N/A | #N/A
222 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 222 | [13 empty] | #N/A | #N/A | #N/A | #N/A
223 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 223 | [13 empty] | #N/A | #N/A | #N/A | #N/A
224 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 224 | [13 empty] | #N/A | #N/A | #N/A | #N/A
225 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 225 | [13 empty] | #N/A | #N/A | #N/A | #N/A
226 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 226 | [13 empty] | #N/A | #N/A | #N/A | #N/A
227 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 227 | [13 empty] | #N/A | #N/A | #N/A | #N/A
228 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 228 | [13 empty] | #N/A | #N/A | #N/A | #N/A
229 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 229 | [13 empty] | #N/A | #N/A | #N/A | #N/A
230 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 230 | [13 empty] | #N/A | #N/A | #N/A | #N/A
231 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 231 | [13 empty] | #N/A | #N/A | #N/A | #N/A
232 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 232 | [13 empty] | #N/A | #N/A | #N/A | #N/A
233 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 233 | [13 empty] | #N/A | #N/A | #N/A | #N/A
234 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 234 | [13 empty] | #N/A | #N/A | #N/A | #N/A
235 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 235 | [13 empty] | #N/A | #N/A | #N/A | #N/A
236 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 236 | [13 empty] | #N/A | #N/A | #N/A | #N/A
237 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 237 | [13 empty] | #N/A | #N/A | #N/A | #N/A
238 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 238 | [13 empty] | #N/A | #N/A | #N/A | #N/A
239 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 239 | [13 empty] | #N/A | #N/A | #N/A | #N/A
240 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 240 | [13 empty] | #N/A | #N/A | #N/A | #N/A
241 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 241 | [13 empty] | #N/A | #N/A | #N/A | #N/A
242 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 242 | [13 empty] | #N/A | #N/A | #N/A | #N/A
243 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 243 | [13 empty] | #N/A | #N/A | #N/A | #N/A
244 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 244 | [13 empty] | #N/A | #N/A | #N/A | #N/A
245 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 245 | [13 empty] | #N/A | #N/A | #N/A | #N/A
246 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 246 | [13 empty] | #N/A | #N/A | #N/A | #N/A
247 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 247 | [13 empty] | #N/A | #N/A | #N/A | #N/A
248 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 248 | [13 empty] | #N/A | #N/A | #N/A | #N/A
249 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 249 | [13 empty] | #N/A | #N/A | #N/A | #N/A
250 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 250 | [13 empty] | #N/A | #N/A | #N/A | #N/A
251 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 251 | [13 empty] | #N/A | #N/A | #N/A | #N/A
252 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 252 | [13 empty] | #N/A | #N/A | #N/A | #N/A
253 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 253 | [13 empty] | #N/A | #N/A | #N/A | #N/A
254 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 254 | [13 empty] | #N/A | #N/A | #N/A | #N/A
255 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 255 | [13 empty] | #N/A | #N/A | #N/A | #N/A
256 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 256 | [13 empty] | #N/A | #N/A | #N/A | #N/A
257 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 257 | [13 empty] | #N/A | #N/A | #N/A | #N/A
258 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 258 | [13 empty] | #N/A | #N/A | #N/A | #N/A
259 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 259 | [13 empty] | #N/A | #N/A | #N/A | #N/A
260 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 260 | [13 empty] | #N/A | #N/A | #N/A | #N/A
261 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 261 | [13 empty] | #N/A | #N/A | #N/A | #N/A
262 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 262 | [13 empty] | #N/A | #N/A | #N/A | #N/A
263 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 263 | [13 empty] | #N/A | #N/A | #N/A | #N/A
264 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 264 | [13 empty] | #N/A | #N/A | #N/A | #N/A
265 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 265 | [13 empty] | #N/A | #N/A | #N/A | #N/A
266 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 266 | [13 empty] | #N/A | #N/A | #N/A | #N/A
267 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 267 | [13 empty] | #N/A | #N/A | #N/A | #N/A
268 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 268 | [13 empty] | #N/A | #N/A | #N/A | #N/A
269 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 269 | [13 empty] | #N/A | #N/A | #N/A | #N/A
270 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 270 | [13 empty] | #N/A | #N/A | #N/A | #N/A
271 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 271 | [13 empty] | #N/A | #N/A | #N/A | #N/A
272 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 272 | [13 empty] | #N/A | #N/A | #N/A | #N/A
273 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 273 | [13 empty] | #N/A | #N/A | #N/A | #N/A
274 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 274 | [13 empty] | #N/A | #N/A | #N/A | #N/A
275 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 275 | [13 empty] | #N/A | #N/A | #N/A | #N/A
276 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 276 | [13 empty] | #N/A | #N/A | #N/A | #N/A
277 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 277 | [13 empty] | #N/A | #N/A | #N/A | #N/A
278 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 278 | [13 empty] | #N/A | #N/A | #N/A | #N/A
279 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 279 | [13 empty] | #N/A | #N/A | #N/A | #N/A
280 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 280 | [13 empty] | #N/A | #N/A | #N/A | #N/A
281 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 281 | [13 empty] | #N/A | #N/A | #N/A | #N/A
282 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 282 | [13 empty] | #N/A | #N/A | #N/A | #N/A
283 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 283 | [13 empty] | #N/A | #N/A | #N/A | #N/A
284 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 284 | [13 empty] | #N/A | #N/A | #N/A | #N/A
285 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 285 | [13 empty] | #N/A | #N/A | #N/A | #N/A
286 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 286 | [13 empty] | #N/A | #N/A | #N/A | #N/A
287 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 287 | [13 empty] | #N/A | #N/A | #N/A | #N/A
288 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 288 | [13 empty] | #N/A | #N/A | #N/A | #N/A
289 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 289 | [13 empty] | #N/A | #N/A | #N/A | #N/A
290 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 290 | [13 empty] | #N/A | #N/A | #N/A | #N/A
291 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 291 | [13 empty] | #N/A | #N/A | #N/A | #N/A
292 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 292 | [13 empty] | #N/A | #N/A | #N/A | #N/A
293 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 293 | [13 empty] | #N/A | #N/A | #N/A | #N/A
294 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 294 | [13 empty] | #N/A | #N/A | #N/A | #N/A
295 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 295 | [13 empty] | #N/A | #N/A | #N/A | #N/A
296 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 296 | [13 empty] | #N/A | #N/A | #N/A | #N/A
297 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 297 | [13 empty] | #N/A | #N/A | #N/A | #N/A
298 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 298 | [13 empty] | #N/A | #N/A | #N/A | #N/A
299 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 299 | [13 empty] | #N/A | #N/A | #N/A | #N/A
300 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 300 | [13 empty] | #N/A | #N/A | #N/A | #N/A
301 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 301 | [13 empty] | #N/A | #N/A | #N/A | #N/A
302 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 302 | [13 empty] | #N/A | #N/A | #N/A | #N/A
303 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 303 | [13 empty] | #N/A | #N/A | #N/A | #N/A
304 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 304 | [13 empty] | #N/A | #N/A | #N/A | #N/A
305 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 305 | [13 empty] | #N/A | #N/A | #N/A | #N/A
306 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 306 | [13 empty] | #N/A | #N/A | #N/A | #N/A
307 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 307 | [13 empty] | #N/A | #N/A | #N/A | #N/A
308 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 308 | [13 empty] | #N/A | #N/A | #N/A | #N/A
309 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 309 | [13 empty] | #N/A | #N/A | #N/A | #N/A
310 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 310 | [13 empty] | #N/A | #N/A | #N/A | #N/A
311 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 311 | [13 empty] | #N/A | #N/A | #N/A | #N/A
312 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 312 | [13 empty] | #N/A | #N/A | #N/A | #N/A
313 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 313 | [13 empty] | #N/A | #N/A | #N/A | #N/A
314 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 314 | [13 empty] | #N/A | #N/A | #N/A | #N/A
315 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 315 | [13 empty] | #N/A | #N/A | #N/A | #N/A
316 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 316 | [13 empty] | #N/A | #N/A | #N/A | #N/A
317 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 317 | [13 empty] | #N/A | #N/A | #N/A | #N/A
318 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 318 | [13 empty] | #N/A | #N/A | #N/A | #N/A
319 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 319 | [13 empty] | #N/A | #N/A | #N/A | #N/A
320 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 320 | [13 empty] | #N/A | #N/A | #N/A | #N/A
321 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 321 | [13 empty] | #N/A | #N/A | #N/A | #N/A
322 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 322 | [13 empty] | #N/A | #N/A | #N/A | #N/A
323 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 323 | [13 empty] | #N/A | #N/A | #N/A | #N/A
324 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 324 | [13 empty] | #N/A | #N/A | #N/A | #N/A
325 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 325 | [13 empty] | #N/A | #N/A | #N/A | #N/A
326 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 326 | [13 empty] | #N/A | #N/A | #N/A | #N/A
327 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 327 | [13 empty] | #N/A | #N/A | #N/A | #N/A
328 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 328 | [13 empty] | #N/A | #N/A | #N/A | #N/A
329 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 329 | [13 empty] | #N/A | #N/A | #N/A | #N/A
330 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 330 | [13 empty] | #N/A | #N/A | #N/A | #N/A
331 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 331 | [13 empty] | #N/A | #N/A | #N/A | #N/A
332 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 332 | [13 empty] | #N/A | #N/A | #N/A | #N/A
333 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 333 | [13 empty] | #N/A | #N/A | #N/A | #N/A
334 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 334 | [13 empty] | #N/A | #N/A | #N/A | #N/A
335 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 335 | [13 empty] | #N/A | #N/A | #N/A | #N/A
336 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 336 | [13 empty] | #N/A | #N/A | #N/A | #N/A
337 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 337 | [13 empty] | #N/A | #N/A | #N/A | #N/A
338 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 338 | [13 empty] | #N/A | #N/A | #N/A | #N/A
339 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 339 | [13 empty] | #N/A | #N/A | #N/A | #N/A
340 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 340 | [13 empty] | #N/A | #N/A | #N/A | #N/A
341 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 341 | [13 empty] | #N/A | #N/A | #N/A | #N/A
342 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 342 | [13 empty] | #N/A | #N/A | #N/A | #N/A
343 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 343 | [13 empty] | #N/A | #N/A | #N/A | #N/A
344 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 344 | [13 empty] | #N/A | #N/A | #N/A | #N/A
345 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 345 | [13 empty] | #N/A | #N/A | #N/A | #N/A
346 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 346 | [13 empty] | #N/A | #N/A | #N/A | #N/A
347 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 347 | [13 empty] | #N/A | #N/A | #N/A | #N/A
348 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 348 | [13 empty] | #N/A | #N/A | #N/A | #N/A
349 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 349 | [13 empty] | #N/A | #N/A | #N/A | #N/A
350 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 350 | [13 empty] | #N/A | #N/A | #N/A | #N/A
351 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 351 | [13 empty] | #N/A | #N/A | #N/A | #N/A
352 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 352 | [13 empty] | #N/A | #N/A | #N/A | #N/A
353 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 353 | [13 empty] | #N/A | #N/A | #N/A | #N/A
354 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 354 | [13 empty] | #N/A | #N/A | #N/A | #N/A
355 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 355 | [13 empty] | #N/A | #N/A | #N/A | #N/A
356 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 356 | [13 empty] | #N/A | #N/A | #N/A | #N/A
357 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 357 | [13 empty] | #N/A | #N/A | #N/A | #N/A
358 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 358 | [13 empty] | #N/A | #N/A | #N/A | #N/A
359 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 359 | [13 empty] | #N/A | #N/A | #N/A | #N/A
360 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 360 | [13 empty] | #N/A | #N/A | #N/A | #N/A
361 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 361 | [13 empty] | #N/A | #N/A | #N/A | #N/A
362 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 362 | [13 empty] | #N/A | #N/A | #N/A | #N/A
363 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 363 | [13 empty] | #N/A | #N/A | #N/A | #N/A
364 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 364 | [13 empty] | #N/A | #N/A | #N/A | #N/A
365 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 365 | [13 empty] | #N/A | #N/A | #N/A | #N/A
366 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 366 | [13 empty] | #N/A | #N/A | #N/A | #N/A
367 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 367 | [13 empty] | #N/A | #N/A | #N/A | #N/A
368 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 368 | [13 empty] | #N/A | #N/A | #N/A | #N/A
369 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 369 | [13 empty] | #N/A | #N/A | #N/A | #N/A
370 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 370 | [13 empty] | #N/A | #N/A | #N/A | #N/A
371 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 371 | [13 empty] | #N/A | #N/A | #N/A | #N/A
372 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 372 | [13 empty] | #N/A | #N/A | #N/A | #N/A
373 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 373 | [13 empty] | #N/A | #N/A | #N/A | #N/A
374 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 374 | [13 empty] | #N/A | #N/A | #N/A | #N/A
375 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 375 | [13 empty] | #N/A | #N/A | #N/A | #N/A
376 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 376 | [13 empty] | #N/A | #N/A | #N/A | #N/A
377 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 377 | [13 empty] | #N/A | #N/A | #N/A | #N/A
378 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 378 | [13 empty] | #N/A | #N/A | #N/A | #N/A
379 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 379 | [13 empty] | #N/A | #N/A | #N/A | #N/A
380 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 380 | [13 empty] | #N/A | #N/A | #N/A | #N/A
381 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 381 | [13 empty] | #N/A | #N/A | #N/A | #N/A
382 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 382 | [13 empty] | #N/A | #N/A | #N/A | #N/A
383 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 383 | [13 empty] | #N/A | #N/A | #N/A | #N/A
384 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 384 | [13 empty] | #N/A | #N/A | #N/A | #N/A
385 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 385 | [13 empty] | #N/A | #N/A | #N/A | #N/A
386 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 386 | [13 empty] | #N/A | #N/A | #N/A | #N/A
387 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 387 | [13 empty] | #N/A | #N/A | #N/A | #N/A
388 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 388 | [13 empty] | #N/A | #N/A | #N/A | #N/A
389 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 389 | [13 empty] | #N/A | #N/A | #N/A | #N/A
390 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 390 | [13 empty] | #N/A | #N/A | #N/A | #N/A
391 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 391 | [13 empty] | #N/A | #N/A | #N/A | #N/A
392 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 392 | [13 empty] | #N/A | #N/A | #N/A | #N/A
393 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 393 | [13 empty] | #N/A | #N/A | #N/A | #N/A
394 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 394 | [13 empty] | #N/A | #N/A | #N/A | #N/A
395 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 395 | [13 empty] | #N/A | #N/A | #N/A | #N/A
396 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 396 | [13 empty] | #N/A | #N/A | #N/A | #N/A
397 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 397 | [13 empty] | #N/A | #N/A | #N/A | #N/A
398 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 398 | [13 empty] | #N/A | #N/A | #N/A | #N/A
399 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 399 | [13 empty] | #N/A | #N/A | #N/A | #N/A
400 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 400 | [13 empty] | #N/A | #N/A | #N/A | #N/A
401 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 401 | [13 empty] | #N/A | #N/A | #N/A | #N/A
402 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 402 | [13 empty] | #N/A | #N/A | #N/A | #N/A
403 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 403 | [13 empty] | #N/A | #N/A | #N/A | #N/A
404 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 404 | [13 empty] | #N/A | #N/A | #N/A | #N/A
405 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 405 | [13 empty] | #N/A | #N/A | #N/A | #N/A
406 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 406 | [13 empty] | #N/A | #N/A | #N/A | #N/A
407 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 407 | [13 empty] | #N/A | #N/A | #N/A | #N/A
408 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 408 | [13 empty] | #N/A | #N/A | #N/A | #N/A
409 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 409 | [13 empty] | #N/A | #N/A | #N/A | #N/A
410 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 410 | [13 empty] | #N/A | #N/A | #N/A | #N/A
411 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 411 | [13 empty] | #N/A | #N/A | #N/A | #N/A
412 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 412 | [13 empty] | #N/A | #N/A | #N/A | #N/A
413 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 413 | [13 empty] | #N/A | #N/A | #N/A | #N/A
414 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 414 | [13 empty] | #N/A | #N/A | #N/A | #N/A
415 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 415 | [13 empty] | #N/A | #N/A | #N/A | #N/A
416 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 416 | [13 empty] | #N/A | #N/A | #N/A | #N/A
417 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 417 | [13 empty] | #N/A | #N/A | #N/A | #N/A
418 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 418 | [13 empty] | #N/A | #N/A | #N/A | #N/A
419 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 419 | [13 empty] | #N/A | #N/A | #N/A | #N/A
420 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 420 | [13 empty] | #N/A | #N/A | #N/A | #N/A
421 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 421 | [13 empty] | #N/A | #N/A | #N/A | #N/A
422 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 422 | [13 empty] | #N/A | #N/A | #N/A | #N/A
423 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 423 | [13 empty] | #N/A | #N/A | #N/A | #N/A
424 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 424 | [13 empty] | #N/A | #N/A | #N/A | #N/A
425 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 425 | [13 empty] | #N/A | #N/A | #N/A | #N/A
426 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 426 | [13 empty] | #N/A | #N/A | #N/A | #N/A
427 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 427 | [13 empty] | #N/A | #N/A | #N/A | #N/A
428 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 428 | [13 empty] | #N/A | #N/A | #N/A | #N/A
429 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 429 | [13 empty] | #N/A | #N/A | #N/A | #N/A
430 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 430 | [13 empty] | #N/A | #N/A | #N/A | #N/A
431 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 431 | [13 empty] | #N/A | #N/A | #N/A | #N/A
432 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 432 | [13 empty] | #N/A | #N/A | #N/A | #N/A
433 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 433 | [13 empty] | #N/A | #N/A | #N/A | #N/A
434 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 434 | [13 empty] | #N/A | #N/A | #N/A | #N/A
435 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 435 | [13 empty] | #N/A | #N/A | #N/A | #N/A
436 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 436 | [13 empty] | #N/A | #N/A | #N/A | #N/A
437 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 437 | [13 empty] | #N/A | #N/A | #N/A | #N/A
438 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 438 | [13 empty] | #N/A | #N/A | #N/A | #N/A
439 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 439 | [13 empty] | #N/A | #N/A | #N/A | #N/A
440 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 440 | [13 empty] | #N/A | #N/A | #N/A | #N/A
441 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 441 | [13 empty] | #N/A | #N/A | #N/A | #N/A
442 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 442 | [13 empty] | #N/A | #N/A | #N/A | #N/A
443 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 443 | [13 empty] | #N/A | #N/A | #N/A | #N/A
444 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 444 | [13 empty] | #N/A | #N/A | #N/A | #N/A
445 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 445 | [13 empty] | #N/A | #N/A | #N/A | #N/A
446 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 446 | [13 empty] | #N/A | #N/A | #N/A | #N/A
447 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 447 | [13 empty] | #N/A | #N/A | #N/A | #N/A
448 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 448 | [13 empty] | #N/A | #N/A | #N/A | #N/A
449 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 449 | [13 empty] | #N/A | #N/A | #N/A | #N/A
450 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 450 | [13 empty] | #N/A | #N/A | #N/A | #N/A
451 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 451 | [13 empty] | #N/A | #N/A | #N/A | #N/A
452 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 452 | [13 empty] | #N/A | #N/A | #N/A | #N/A
453 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 453 | [13 empty] | #N/A | #N/A | #N/A | #N/A
454 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 454 | [13 empty] | #N/A | #N/A | #N/A | #N/A
455 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 455 | [13 empty] | #N/A | #N/A | #N/A | #N/A
456 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 456 | [13 empty] | #N/A | #N/A | #N/A | #N/A
457 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 457 | [13 empty] | #N/A | #N/A | #N/A | #N/A
458 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 458 | [13 empty] | #N/A | #N/A | #N/A | #N/A
459 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 459 | [13 empty] | #N/A | #N/A | #N/A | #N/A
460 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 460 | [13 empty] | #N/A | #N/A | #N/A | #N/A
461 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 461 | [13 empty] | #N/A | #N/A | #N/A | #N/A
462 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 462 | [13 empty] | #N/A | #N/A | #N/A | #N/A
463 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 463 | [13 empty] | #N/A | #N/A | #N/A | #N/A
464 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 464 | [13 empty] | #N/A | #N/A | #N/A | #N/A
465 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 465 | [13 empty] | #N/A | #N/A | #N/A | #N/A
466 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 466 | [13 empty] | #N/A | #N/A | #N/A | #N/A
467 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 467 | [13 empty] | #N/A | #N/A | #N/A | #N/A
468 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 468 | [13 empty] | #N/A | #N/A | #N/A | #N/A
469 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 469 | [13 empty] | #N/A | #N/A | #N/A | #N/A
470 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 470 | [13 empty] | #N/A | #N/A | #N/A | #N/A
471 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 471 | [13 empty] | #N/A | #N/A | #N/A | #N/A
472 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 472 | [13 empty] | #N/A | #N/A | #N/A | #N/A
473 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 473 | [13 empty] | #N/A | #N/A | #N/A | #N/A
474 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 474 | [13 empty] | #N/A | #N/A | #N/A | #N/A
475 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 475 | [13 empty] | #N/A | #N/A | #N/A | #N/A
476 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 476 | [13 empty] | #N/A | #N/A | #N/A | #N/A
477 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 477 | [13 empty] | #N/A | #N/A | #N/A | #N/A
478 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 478 | [13 empty] | #N/A | #N/A | #N/A | #N/A
479 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 479 | [13 empty] | #N/A | #N/A | #N/A | #N/A
480 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | [13 empty] | #N/A | #N/A | #N/A | #N/A
481 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 481 | [13 empty] | #N/A | #N/A | #N/A | #N/A
482 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 482 | [13 empty] | #N/A | #N/A | #N/A | #N/A
483 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 483 | [13 empty] | #N/A | #N/A | #N/A | #N/A
484 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 484 | [13 empty] | #N/A | #N/A | #N/A | #N/A
485 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 485 | [13 empty] | #N/A | #N/A | #N/A | #N/A
486 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 486 | [13 empty] | #N/A | #N/A | #N/A | #N/A
487 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 487 | [13 empty] | #N/A | #N/A | #N/A | #N/A
488 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 488 | [13 empty] | #N/A | #N/A | #N/A | #N/A
489 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 489 | [13 empty] | #N/A | #N/A | #N/A | #N/A
490 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 490 | [13 empty] | #N/A | #N/A | #N/A | #N/A
491 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 491 | [13 empty] | #N/A | #N/A | #N/A | #N/A
492 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 492 | [13 empty] | #N/A | #N/A | #N/A | #N/A
493 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 493 | [13 empty] | #N/A | #N/A | #N/A | #N/A
494 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 494 | [13 empty] | #N/A | #N/A | #N/A | #N/A
495 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 495 | [13 empty] | #N/A | #N/A | #N/A | #N/A
496 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 496 | [13 empty] | #N/A | #N/A | #N/A | #N/A
497 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 497 | [13 empty] | #N/A | #N/A | #N/A | #N/A
498 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 498 | [13 empty] | #N/A | #N/A | #N/A | #N/A
499 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 499 | [13 empty] | #N/A | #N/A | #N/A | #N/A
500 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 500 | [13 empty] | #N/A | #N/A | #N/A | #N/A

## Calibration Results
LOAD CELL INFORMATION
| Manufacturer: | Strainsense
| Model: | SSTS504C
| Serial No.: | 070311
| FSEL Inventory Number: | 00256
| Rated Capacity: | 500,000 lb
| Calibration Range: | 1,000 to 499,000 lb
| Calibration Mode: | Compression
DATA ACQUISITION USED FOR CALIBRATION
| Manufacturer: | Campbell Scientific
| Model: | CR3000
| Serial No.: | 6460
| Channel: | DIFF13
| Nominal Excitation Voltage: | 10 V
CALIBRATION DATA
Run 1 |  |  | Run 2
Applied Load | Indicated Load | Error | Applied Load | Indicated Load | Error
[lbf] | [lbf] | [% of Full Scale] | [lbf] | [lbf] | [% of Full Scale]
0 | 0 |  | 0 | 0
997.8 | 1000.4413 | -0.00052826 | 1002.6 | 993.085 | 0.001903
5001.4 | 5009.5624 | -0.0016325 | 4988.6 | 5053.6982 | -0.01302
9961.7 | 9945.5618 | 0.0032276 | 9935.3 | 10004.4124 | -0.013822
20004.5 | 19854.3454 | 0.030031 | 20003.5 | 19780.7821 | 0.044544
39997.5 | 39723.408 | 0.054818 | 40008.5 | 39760.1732 | 0.049665
60004.5 | 59614.5232 | 0.077995 | 60008.5 | 59651.3103 | 0.071438
79988.5 | 79638.0544 | 0.070089 | 79992.5 | 79630.7102 | 0.072358
99738.5 | 99418.8521 | 0.06393 | 99768.5 | 99440.9068 | 0.065519
199990.5 | 199632.1594 | 0.071668 | 200002.5 | 199536.5305 | 0.093194
299988.5 | 299786.6689 | 0.040366 | 299995.5 | 299691.0179 | 0.060896
399980.5 | 399698.4008 | 0.05642 | 399985.5 | 399610.0061 | 0.075099
499618.5 | 499713.0399 | -0.018908 | 499528.5 | 499117.1454 | 0.082271
=> Note: Add or subtract rows as needed to show all calibration data.
CALIBRATION RESULTS
For Agilent Hardware: |  |  | For Campbell Scientific Hardware:
| Range, lbf = | 500000 |  | Nominal Excitation Voltage, mV = | 5000
| Sensitivity, mV/V = | 2.2731 |  | Scaling Factor, lbf/mV/V = | 219968.4575
| Maximum Error, % Full Scale = | 0.078465
| Maximum Error, lb = | 392.3236
For National Instruments Hardware:
|  |  |  | Nominal Excitation Voltage, V = | 10
|  |  |  | Scaling Factor, kip/V/V = | 21996.8457
CALIBRATION STANDARDS
Manufacturer | Model | Serial No. | Class A Range |  | Due Date
Strainsense | SS104C | 840521(LO) | 716.2 to 10,000 lbs
strainsense | SS104C | 840521(HI) | 2692 to 100,000 lbs
Strainsense | SS105C | 821204 | 45000 to 1,000,000 lbs
OPERATOR
Signature: |  |  |  | Date:

## Revision Record
Revision | Date | Affected Pages | Description of Revisions
0 | 2016-03-10 | All | Initial Issue
1 | 2014-05-18 | Notes | Added instructions for calibration with Campbell Scientific dataloggers
2 | 2016-11-14 | Calibration Results | Added entry for FSEL inventory number