## Notes
Notes:
1) | This spreadsheet assumed a maximum of 500 calibration steps.
2) | Data should be input into highlighted cells only.
3) | "Calculation" sheet should not be edited.
4) | The "Input" sheet assumes that an Agilent/Keysight system is used for recording calibration data. If using Campbell Scientific hardware, the "Bridge Output [V]" should be calculated as the output from the logger channel to which the load cell is connected in [mV/V] times the excititaion voltage in [V] times 1000 (unit conversion from V to mV).

## Input
|  |  | Nominal Load Cell Capacity, lb = | 500000
Load Cyle 1 |  |  | Load Cyle 2
Applied Load | Bridge Output | Excitation Voltage | Applied Load | Bridge Output | Excitation Voltage
[lb] | [V] | [V] | [lb] | [V] | [V]

## Calculation
Calibration Cycle 1 | [21 empty] | Calibration Cycle 2 | [21 empty] | Both Calibration Cycles
|  | Load Range, lb = | 500000 | [20 empty] | Load Range, lb = | 500000
|  | Avg. Excitation Voltage, V = | #DIV/0! | [20 empty] | Avg. Excitation Voltage, V = | #DIV/0!
|  | No. of Samples = | 0 | [20 empty] | No. of Samples = | 0 | [18 empty] | Load Cycle 1 |  |  |  |  | Load Cycle 2
[7 empty] | Calculations Based on Average |  |  |  | Calculations Based on Least-Squares |  |  | Plot Data | [14 empty] | Calculations Based on Average |  |  |  | Calculations Based on Least-Squares |  |  | Plot Data | [8 empty] | Avg. Calculations |  | L.S. Calculations |  |  | Avg. Calculations |  | L.S. Calculations
| Applied Load | Bridge Output | Bridge Output | Zeroed Applied Load | Zeroed Bridge Output | Applied Load/Range | Individual Sensitiviy | Calculated Load | Error | Error | Calculated Load | Error | Error | Zeroed Applied Load | Zeroed Bridge Output | Error (Avg.) | Error (L.S.) | [5 empty] | Applied Load | Bridge Output | Bridge Output | Zeroed Applied Load | Zeroed Bridge Output | Applied Load/Range | Individual Sensitiviy | Calculated Load | Error | Error | Calculated Load | Error | Error | Zeroed Applied Load | Zeroed Bridge Output | Error (Avg.) | Error (L.S.) |  |  |  |  | Applied Load | Calculated Load | Error | Calculated Load |  | Applied Load | Calculated Load |  | Calculated Load
| [lb] | [V] | [mV/V] | [lb] | [mV/V] | [% of Capacity] | [mV/V] | [lb] | [%] | [% Full Scale] | [lb] | [%] | [% Full Scale] | [lb] | [mV/V] | [% Full Scale] | [% Full Scale] | [5 empty] | [lb] | [V] | [mV/V] | [lb] | [mV/V] | [% of Capacity] | [mV/V] | [lb] | [%] | [% Full Scale] | [lb] | [%] | [% Full Scale] | [lb] | [mV/V] | [% Full Scale] | [% Full Scale] |  |  |  |  | [lb] | [lb] | [%FS] | [lb] | [%FS] | [lb] | [lb] | [%FS] | [lb] | [%FS] |  | Senstivity | Peak Error | Peak Error
1 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 1 | [13 empty] | #N/A | #N/A | #N/A | #N/A | [7 empty] | #VALUE! |  |  |  |  | #VALUE! |  |  | [mV/V] | [%FS] | [lb]
2 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 2 | [13 empty] | #N/A | #N/A | #N/A | #N/A | [14 empty] | Average: | #DIV/0! | 0% | 0
3 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 3 | [13 empty] | #N/A | #N/A | #N/A | #N/A | [14 empty] | Least Squares: | #DIV/0! | 0% | 0
4 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 4 | [13 empty] | #N/A | #N/A | #N/A | #N/A
5 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 5 | [13 empty] | #N/A | #N/A | #N/A | #N/A
6 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 6 | [13 empty] | #N/A | #N/A | #N/A | #N/A
7 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 7 | [13 empty] | #N/A | #N/A | #N/A | #N/A
8 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 8 | [13 empty] | #N/A | #N/A | #N/A | #N/A
9 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 9 | [13 empty] | #N/A | #N/A | #N/A | #N/A
10 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 10 | [13 empty] | #N/A | #N/A | #N/A | #N/A
11 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 11 | [13 empty] | #N/A | #N/A | #N/A | #N/A
12 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 12 | [13 empty] | #N/A | #N/A | #N/A | #N/A
13 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 13 | [13 empty] | #N/A | #N/A | #N/A | #N/A
14 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 14 | [13 empty] | #N/A | #N/A | #N/A | #N/A
15 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 15 | [13 empty] | #N/A | #N/A | #N/A | #N/A
16 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 16 | [13 empty] | #N/A | #N/A | #N/A | #N/A
17 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 17 | [13 empty] | #N/A | #N/A | #N/A | #N/A
18 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 18 | [13 empty] | #N/A | #N/A | #N/A | #N/A
19 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 19 | [13 empty] | #N/A | #N/A | #N/A | #N/A
20 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 20 | [13 empty] | #N/A | #N/A | #N/A | #N/A
21 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 21 | [13 empty] | #N/A | #N/A | #N/A | #N/A
22 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 22 | [13 empty] | #N/A | #N/A | #N/A | #N/A
23 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 23 | [13 empty] | #N/A | #N/A | #N/A | #N/A
24 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | Senstivity | Max Error | Min Error | 24 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | Senstivity | Max Error | Min Error
25 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | [mV/V] | [%FS] | [%FS] | 25 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  | [mV/V] | [%] | [%]
26 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Average: | #DIV/0! | 0% | 0% | 26 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Average: | #DIV/0! | 0% | 0%
27 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Least Squares: | #DIV/0! | 0% | 0% | 27 | [13 empty] | #N/A | #N/A | #N/A | #N/A | Least Squares: | #DIV/0! | 0% | 0%
28 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 28 | [13 empty] | #N/A | #N/A | #N/A | #N/A
29 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 29 | [13 empty] | #N/A | #N/A | #N/A | #N/A
30 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 30 | [13 empty] | #N/A | #N/A | #N/A | #N/A
31 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 31 | [13 empty] | #N/A | #N/A | #N/A | #N/A
32 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 32 | [13 empty] | #N/A | #N/A | #N/A | #N/A
33 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 33 | [13 empty] | #N/A | #N/A | #N/A | #N/A
34 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 34 | [13 empty] | #N/A | #N/A | #N/A | #N/A
35 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 35 | [13 empty] | #N/A | #N/A | #N/A | #N/A
36 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 36 | [13 empty] | #N/A | #N/A | #N/A | #N/A
37 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 37 | [13 empty] | #N/A | #N/A | #N/A | #N/A
38 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 38 | [13 empty] | #N/A | #N/A | #N/A | #N/A
39 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 39 | [13 empty] | #N/A | #N/A | #N/A | #N/A
40 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 40 | [13 empty] | #N/A | #N/A | #N/A | #N/A
41 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 41 | [13 empty] | #N/A | #N/A | #N/A | #N/A
42 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 42 | [13 empty] | #N/A | #N/A | #N/A | #N/A
43 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 43 | [13 empty] | #N/A | #N/A | #N/A | #N/A
44 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 44 | [13 empty] | #N/A | #N/A | #N/A | #N/A
45 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 45 | [13 empty] | #N/A | #N/A | #N/A | #N/A
46 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 46 | [13 empty] | #N/A | #N/A | #N/A | #N/A
47 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 47 | [13 empty] | #N/A | #N/A | #N/A | #N/A
48 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 48 | [13 empty] | #N/A | #N/A | #N/A | #N/A
49 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 49 | [13 empty] | #N/A | #N/A | #N/A | #N/A
50 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 50 | [13 empty] | #N/A | #N/A | #N/A | #N/A
51 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 51 | [13 empty] | #N/A | #N/A | #N/A | #N/A
52 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 52 | [13 empty] | #N/A | #N/A | #N/A | #N/A
53 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 53 | [13 empty] | #N/A | #N/A | #N/A | #N/A
54 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 54 | [13 empty] | #N/A | #N/A | #N/A | #N/A
55 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 55 | [13 empty] | #N/A | #N/A | #N/A | #N/A
56 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 56 | [13 empty] | #N/A | #N/A | #N/A | #N/A
57 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 57 | [13 empty] | #N/A | #N/A | #N/A | #N/A
58 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 58 | [13 empty] | #N/A | #N/A | #N/A | #N/A
59 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 59 | [13 empty] | #N/A | #N/A | #N/A | #N/A
60 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 60 | [13 empty] | #N/A | #N/A | #N/A | #N/A
61 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 61 | [13 empty] | #N/A | #N/A | #N/A | #N/A
62 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 62 | [13 empty] | #N/A | #N/A | #N/A | #N/A
63 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 63 | [13 empty] | #N/A | #N/A | #N/A | #N/A
64 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 64 | [13 empty] | #N/A | #N/A | #N/A | #N/A
65 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 65 | [13 empty] | #N/A | #N/A | #N/A | #N/A
66 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 66 | [13 empty] | #N/A | #N/A | #N/A | #N/A
67 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 67 | [13 empty] | #N/A | #N/A | #N/A | #N/A
68 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 68 | [13 empty] | #N/A | #N/A | #N/A | #N/A
69 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 69 | [13 empty] | #N/A | #N/A | #N/A | #N/A
70 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 70 | [13 empty] | #N/A | #N/A | #N/A | #N/A
71 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 71 | [13 empty] | #N/A | #N/A | #N/A | #N/A
72 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 72 | [13 empty] | #N/A | #N/A | #N/A | #N/A
73 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 73 | [13 empty] | #N/A | #N/A | #N/A | #N/A
74 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 74 | [13 empty] | #N/A | #N/A | #N/A | #N/A
75 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 75 | [13 empty] | #N/A | #N/A | #N/A | #N/A
76 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 76 | [13 empty] | #N/A | #N/A | #N/A | #N/A
77 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 77 | [13 empty] | #N/A | #N/A | #N/A | #N/A
78 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 78 | [13 empty] | #N/A | #N/A | #N/A | #N/A
79 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 79 | [13 empty] | #N/A | #N/A | #N/A | #N/A
80 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 80 | [13 empty] | #N/A | #N/A | #N/A | #N/A
81 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 81 | [13 empty] | #N/A | #N/A | #N/A | #N/A
82 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 82 | [13 empty] | #N/A | #N/A | #N/A | #N/A
83 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 83 | [13 empty] | #N/A | #N/A | #N/A | #N/A
84 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 84 | [13 empty] | #N/A | #N/A | #N/A | #N/A
85 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 85 | [13 empty] | #N/A | #N/A | #N/A | #N/A
86 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 86 | [13 empty] | #N/A | #N/A | #N/A | #N/A
87 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 87 | [13 empty] | #N/A | #N/A | #N/A | #N/A
88 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 88 | [13 empty] | #N/A | #N/A | #N/A | #N/A
89 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 89 | [13 empty] | #N/A | #N/A | #N/A | #N/A
90 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 90 | [13 empty] | #N/A | #N/A | #N/A | #N/A
91 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 91 | [13 empty] | #N/A | #N/A | #N/A | #N/A
92 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 92 | [13 empty] | #N/A | #N/A | #N/A | #N/A
93 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 93 | [13 empty] | #N/A | #N/A | #N/A | #N/A
94 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 94 | [13 empty] | #N/A | #N/A | #N/A | #N/A
95 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 95 | [13 empty] | #N/A | #N/A | #N/A | #N/A
96 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 96 | [13 empty] | #N/A | #N/A | #N/A | #N/A
97 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 97 | [13 empty] | #N/A | #N/A | #N/A | #N/A
98 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 98 | [13 empty] | #N/A | #N/A | #N/A | #N/A
99 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 99 | [13 empty] | #N/A | #N/A | #N/A | #N/A
100 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 100 | [13 empty] | #N/A | #N/A | #N/A | #N/A
101 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 101 | [13 empty] | #N/A | #N/A | #N/A | #N/A
102 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 102 | [13 empty] | #N/A | #N/A | #N/A | #N/A
103 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 103 | [13 empty] | #N/A | #N/A | #N/A | #N/A
104 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 104 | [13 empty] | #N/A | #N/A | #N/A | #N/A
105 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 105 | [13 empty] | #N/A | #N/A | #N/A | #N/A
106 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 106 | [13 empty] | #N/A | #N/A | #N/A | #N/A
107 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 107 | [13 empty] | #N/A | #N/A | #N/A | #N/A
108 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 108 | [13 empty] | #N/A | #N/A | #N/A | #N/A
109 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 109 | [13 empty] | #N/A | #N/A | #N/A | #N/A
110 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 110 | [13 empty] | #N/A | #N/A | #N/A | #N/A
111 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 111 | [13 empty] | #N/A | #N/A | #N/A | #N/A
112 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 112 | [13 empty] | #N/A | #N/A | #N/A | #N/A
113 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 113 | [13 empty] | #N/A | #N/A | #N/A | #N/A
114 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 114 | [13 empty] | #N/A | #N/A | #N/A | #N/A
115 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 115 | [13 empty] | #N/A | #N/A | #N/A | #N/A
116 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 116 | [13 empty] | #N/A | #N/A | #N/A | #N/A
117 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 117 | [13 empty] | #N/A | #N/A | #N/A | #N/A
118 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 118 | [13 empty] | #N/A | #N/A | #N/A | #N/A
119 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 119 | [13 empty] | #N/A | #N/A | #N/A | #N/A
120 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 120 | [13 empty] | #N/A | #N/A | #N/A | #N/A
121 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 121 | [13 empty] | #N/A | #N/A | #N/A | #N/A
122 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 122 | [13 empty] | #N/A | #N/A | #N/A | #N/A
123 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 123 | [13 empty] | #N/A | #N/A | #N/A | #N/A
124 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 124 | [13 empty] | #N/A | #N/A | #N/A | #N/A
125 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 125 | [13 empty] | #N/A | #N/A | #N/A | #N/A
126 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 126 | [13 empty] | #N/A | #N/A | #N/A | #N/A
127 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 127 | [13 empty] | #N/A | #N/A | #N/A | #N/A
128 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 128 | [13 empty] | #N/A | #N/A | #N/A | #N/A
129 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 129 | [13 empty] | #N/A | #N/A | #N/A | #N/A
130 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 130 | [13 empty] | #N/A | #N/A | #N/A | #N/A
131 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 131 | [13 empty] | #N/A | #N/A | #N/A | #N/A
132 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 132 | [13 empty] | #N/A | #N/A | #N/A | #N/A
133 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 133 | [13 empty] | #N/A | #N/A | #N/A | #N/A
134 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 134 | [13 empty] | #N/A | #N/A | #N/A | #N/A
135 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 135 | [13 empty] | #N/A | #N/A | #N/A | #N/A
136 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 136 | [13 empty] | #N/A | #N/A | #N/A | #N/A
137 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 137 | [13 empty] | #N/A | #N/A | #N/A | #N/A
138 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 138 | [13 empty] | #N/A | #N/A | #N/A | #N/A
139 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 139 | [13 empty] | #N/A | #N/A | #N/A | #N/A
140 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 140 | [13 empty] | #N/A | #N/A | #N/A | #N/A
141 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 141 | [13 empty] | #N/A | #N/A | #N/A | #N/A
142 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 142 | [13 empty] | #N/A | #N/A | #N/A | #N/A
143 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 143 | [13 empty] | #N/A | #N/A | #N/A | #N/A
144 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 144 | [13 empty] | #N/A | #N/A | #N/A | #N/A
145 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 145 | [13 empty] | #N/A | #N/A | #N/A | #N/A
146 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 146 | [13 empty] | #N/A | #N/A | #N/A | #N/A
147 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 147 | [13 empty] | #N/A | #N/A | #N/A | #N/A
148 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 148 | [13 empty] | #N/A | #N/A | #N/A | #N/A
149 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 149 | [13 empty] | #N/A | #N/A | #N/A | #N/A
150 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 150 | [13 empty] | #N/A | #N/A | #N/A | #N/A
151 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 151 | [13 empty] | #N/A | #N/A | #N/A | #N/A
152 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 152 | [13 empty] | #N/A | #N/A | #N/A | #N/A
153 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 153 | [13 empty] | #N/A | #N/A | #N/A | #N/A
154 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 154 | [13 empty] | #N/A | #N/A | #N/A | #N/A
155 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 155 | [13 empty] | #N/A | #N/A | #N/A | #N/A
156 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 156 | [13 empty] | #N/A | #N/A | #N/A | #N/A
157 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 157 | [13 empty] | #N/A | #N/A | #N/A | #N/A
158 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 158 | [13 empty] | #N/A | #N/A | #N/A | #N/A
159 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 159 | [13 empty] | #N/A | #N/A | #N/A | #N/A
160 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 160 | [13 empty] | #N/A | #N/A | #N/A | #N/A
161 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 161 | [13 empty] | #N/A | #N/A | #N/A | #N/A
162 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 162 | [13 empty] | #N/A | #N/A | #N/A | #N/A
163 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 163 | [13 empty] | #N/A | #N/A | #N/A | #N/A
164 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 164 | [13 empty] | #N/A | #N/A | #N/A | #N/A
165 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 165 | [13 empty] | #N/A | #N/A | #N/A | #N/A
166 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 166 | [13 empty] | #N/A | #N/A | #N/A | #N/A
167 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 167 | [13 empty] | #N/A | #N/A | #N/A | #N/A
168 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 168 | [13 empty] | #N/A | #N/A | #N/A | #N/A
169 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 169 | [13 empty] | #N/A | #N/A | #N/A | #N/A
170 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 170 | [13 empty] | #N/A | #N/A | #N/A | #N/A
171 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 171 | [13 empty] | #N/A | #N/A | #N/A | #N/A
172 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 172 | [13 empty] | #N/A | #N/A | #N/A | #N/A
173 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 173 | [13 empty] | #N/A | #N/A | #N/A | #N/A
174 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 174 | [13 empty] | #N/A | #N/A | #N/A | #N/A
175 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 175 | [13 empty] | #N/A | #N/A | #N/A | #N/A
176 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 176 | [13 empty] | #N/A | #N/A | #N/A | #N/A
177 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 177 | [13 empty] | #N/A | #N/A | #N/A | #N/A
178 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 178 | [13 empty] | #N/A | #N/A | #N/A | #N/A
179 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 179 | [13 empty] | #N/A | #N/A | #N/A | #N/A
180 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 180 | [13 empty] | #N/A | #N/A | #N/A | #N/A
181 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 181 | [13 empty] | #N/A | #N/A | #N/A | #N/A
182 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 182 | [13 empty] | #N/A | #N/A | #N/A | #N/A
183 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 183 | [13 empty] | #N/A | #N/A | #N/A | #N/A
184 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 184 | [13 empty] | #N/A | #N/A | #N/A | #N/A
185 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 185 | [13 empty] | #N/A | #N/A | #N/A | #N/A
186 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 186 | [13 empty] | #N/A | #N/A | #N/A | #N/A
187 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 187 | [13 empty] | #N/A | #N/A | #N/A | #N/A
188 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 188 | [13 empty] | #N/A | #N/A | #N/A | #N/A
189 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 189 | [13 empty] | #N/A | #N/A | #N/A | #N/A
190 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 190 | [13 empty] | #N/A | #N/A | #N/A | #N/A
191 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 191 | [13 empty] | #N/A | #N/A | #N/A | #N/A
192 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 192 | [13 empty] | #N/A | #N/A | #N/A | #N/A
193 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 193 | [13 empty] | #N/A | #N/A | #N/A | #N/A
194 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 194 | [13 empty] | #N/A | #N/A | #N/A | #N/A
195 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 195 | [13 empty] | #N/A | #N/A | #N/A | #N/A
196 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 196 | [13 empty] | #N/A | #N/A | #N/A | #N/A
197 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 197 | [13 empty] | #N/A | #N/A | #N/A | #N/A
198 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 198 | [13 empty] | #N/A | #N/A | #N/A | #N/A
199 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 199 | [13 empty] | #N/A | #N/A | #N/A | #N/A
200 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 200 | [13 empty] | #N/A | #N/A | #N/A | #N/A
201 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 201 | [13 empty] | #N/A | #N/A | #N/A | #N/A
202 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 202 | [13 empty] | #N/A | #N/A | #N/A | #N/A
203 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 203 | [13 empty] | #N/A | #N/A | #N/A | #N/A
204 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 204 | [13 empty] | #N/A | #N/A | #N/A | #N/A
205 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 205 | [13 empty] | #N/A | #N/A | #N/A | #N/A
206 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 206 | [13 empty] | #N/A | #N/A | #N/A | #N/A
207 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 207 | [13 empty] | #N/A | #N/A | #N/A | #N/A
208 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 208 | [13 empty] | #N/A | #N/A | #N/A | #N/A
209 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 209 | [13 empty] | #N/A | #N/A | #N/A | #N/A
210 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 210 | [13 empty] | #N/A | #N/A | #N/A | #N/A
211 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 211 | [13 empty] | #N/A | #N/A | #N/A | #N/A
212 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 212 | [13 empty] | #N/A | #N/A | #N/A | #N/A
213 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 213 | [13 empty] | #N/A | #N/A | #N/A | #N/A
214 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 214 | [13 empty] | #N/A | #N/A | #N/A | #N/A
215 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 215 | [13 empty] | #N/A | #N/A | #N/A | #N/A
216 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 216 | [13 empty] | #N/A | #N/A | #N/A | #N/A
217 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 217 | [13 empty] | #N/A | #N/A | #N/A | #N/A
218 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 218 | [13 empty] | #N/A | #N/A | #N/A | #N/A
219 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 219 | [13 empty] | #N/A | #N/A | #N/A | #N/A
220 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 220 | [13 empty] | #N/A | #N/A | #N/A | #N/A
221 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 221 | [13 empty] | #N/A | #N/A | #N/A | #N/A
222 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 222 | [13 empty] | #N/A | #N/A | #N/A | #N/A
223 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 223 | [13 empty] | #N/A | #N/A | #N/A | #N/A
224 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 224 | [13 empty] | #N/A | #N/A | #N/A | #N/A
225 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 225 | [13 empty] | #N/A | #N/A | #N/A | #N/A
226 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 226 | [13 empty] | #N/A | #N/A | #N/A | #N/A
227 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 227 | [13 empty] | #N/A | #N/A | #N/A | #N/A
228 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 228 | [13 empty] | #N/A | #N/A | #N/A | #N/A
229 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 229 | [13 empty] | #N/A | #N/A | #N/A | #N/A
230 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 230 | [13 empty] | #N/A | #N/A | #N/A | #N/A
231 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 231 | [13 empty] | #N/A | #N/A | #N/A | #N/A
232 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 232 | [13 empty] | #N/A | #N/A | #N/A | #N/A
233 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 233 | [13 empty] | #N/A | #N/A | #N/A | #N/A
234 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 234 | [13 empty] | #N/A | #N/A | #N/A | #N/A
235 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 235 | [13 empty] | #N/A | #N/A | #N/A | #N/A
236 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 236 | [13 empty] | #N/A | #N/A | #N/A | #N/A
237 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 237 | [13 empty] | #N/A | #N/A | #N/A | #N/A
238 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 238 | [13 empty] | #N/A | #N/A | #N/A | #N/A
239 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 239 | [13 empty] | #N/A | #N/A | #N/A | #N/A
240 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 240 | [13 empty] | #N/A | #N/A | #N/A | #N/A
241 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 241 | [13 empty] | #N/A | #N/A | #N/A | #N/A
242 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 242 | [13 empty] | #N/A | #N/A | #N/A | #N/A
243 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 243 | [13 empty] | #N/A | #N/A | #N/A | #N/A
244 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 244 | [13 empty] | #N/A | #N/A | #N/A | #N/A
245 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 245 | [13 empty] | #N/A | #N/A | #N/A | #N/A
246 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 246 | [13 empty] | #N/A | #N/A | #N/A | #N/A
247 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 247 | [13 empty] | #N/A | #N/A | #N/A | #N/A
248 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 248 | [13 empty] | #N/A | #N/A | #N/A | #N/A
249 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 249 | [13 empty] | #N/A | #N/A | #N/A | #N/A
250 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 250 | [13 empty] | #N/A | #N/A | #N/A | #N/A
251 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 251 | [13 empty] | #N/A | #N/A | #N/A | #N/A
252 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 252 | [13 empty] | #N/A | #N/A | #N/A | #N/A
253 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 253 | [13 empty] | #N/A | #N/A | #N/A | #N/A
254 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 254 | [13 empty] | #N/A | #N/A | #N/A | #N/A
255 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 255 | [13 empty] | #N/A | #N/A | #N/A | #N/A
256 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 256 | [13 empty] | #N/A | #N/A | #N/A | #N/A
257 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 257 | [13 empty] | #N/A | #N/A | #N/A | #N/A
258 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 258 | [13 empty] | #N/A | #N/A | #N/A | #N/A
259 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 259 | [13 empty] | #N/A | #N/A | #N/A | #N/A
260 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 260 | [13 empty] | #N/A | #N/A | #N/A | #N/A
261 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 261 | [13 empty] | #N/A | #N/A | #N/A | #N/A
262 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 262 | [13 empty] | #N/A | #N/A | #N/A | #N/A
263 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 263 | [13 empty] | #N/A | #N/A | #N/A | #N/A
264 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 264 | [13 empty] | #N/A | #N/A | #N/A | #N/A
265 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 265 | [13 empty] | #N/A | #N/A | #N/A | #N/A
266 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 266 | [13 empty] | #N/A | #N/A | #N/A | #N/A
267 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 267 | [13 empty] | #N/A | #N/A | #N/A | #N/A
268 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 268 | [13 empty] | #N/A | #N/A | #N/A | #N/A
269 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 269 | [13 empty] | #N/A | #N/A | #N/A | #N/A
270 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 270 | [13 empty] | #N/A | #N/A | #N/A | #N/A
271 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 271 | [13 empty] | #N/A | #N/A | #N/A | #N/A
272 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 272 | [13 empty] | #N/A | #N/A | #N/A | #N/A
273 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 273 | [13 empty] | #N/A | #N/A | #N/A | #N/A
274 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 274 | [13 empty] | #N/A | #N/A | #N/A | #N/A
275 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 275 | [13 empty] | #N/A | #N/A | #N/A | #N/A
276 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 276 | [13 empty] | #N/A | #N/A | #N/A | #N/A
277 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 277 | [13 empty] | #N/A | #N/A | #N/A | #N/A
278 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 278 | [13 empty] | #N/A | #N/A | #N/A | #N/A
279 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 279 | [13 empty] | #N/A | #N/A | #N/A | #N/A
280 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 280 | [13 empty] | #N/A | #N/A | #N/A | #N/A
281 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 281 | [13 empty] | #N/A | #N/A | #N/A | #N/A
282 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 282 | [13 empty] | #N/A | #N/A | #N/A | #N/A
283 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 283 | [13 empty] | #N/A | #N/A | #N/A | #N/A
284 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 284 | [13 empty] | #N/A | #N/A | #N/A | #N/A
285 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 285 | [13 empty] | #N/A | #N/A | #N/A | #N/A
286 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 286 | [13 empty] | #N/A | #N/A | #N/A | #N/A
287 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 287 | [13 empty] | #N/A | #N/A | #N/A | #N/A
288 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 288 | [13 empty] | #N/A | #N/A | #N/A | #N/A
289 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 289 | [13 empty] | #N/A | #N/A | #N/A | #N/A
290 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 290 | [13 empty] | #N/A | #N/A | #N/A | #N/A
291 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 291 | [13 empty] | #N/A | #N/A | #N/A | #N/A
292 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 292 | [13 empty] | #N/A | #N/A | #N/A | #N/A
293 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 293 | [13 empty] | #N/A | #N/A | #N/A | #N/A
294 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 294 | [13 empty] | #N/A | #N/A | #N/A | #N/A
295 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 295 | [13 empty] | #N/A | #N/A | #N/A | #N/A
296 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 296 | [13 empty] | #N/A | #N/A | #N/A | #N/A
297 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 297 | [13 empty] | #N/A | #N/A | #N/A | #N/A
298 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 298 | [13 empty] | #N/A | #N/A | #N/A | #N/A
299 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 299 | [13 empty] | #N/A | #N/A | #N/A | #N/A
300 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 300 | [13 empty] | #N/A | #N/A | #N/A | #N/A
301 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 301 | [13 empty] | #N/A | #N/A | #N/A | #N/A
302 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 302 | [13 empty] | #N/A | #N/A | #N/A | #N/A
303 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 303 | [13 empty] | #N/A | #N/A | #N/A | #N/A
304 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 304 | [13 empty] | #N/A | #N/A | #N/A | #N/A
305 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 305 | [13 empty] | #N/A | #N/A | #N/A | #N/A
306 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 306 | [13 empty] | #N/A | #N/A | #N/A | #N/A
307 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 307 | [13 empty] | #N/A | #N/A | #N/A | #N/A
308 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 308 | [13 empty] | #N/A | #N/A | #N/A | #N/A
309 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 309 | [13 empty] | #N/A | #N/A | #N/A | #N/A
310 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 310 | [13 empty] | #N/A | #N/A | #N/A | #N/A
311 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 311 | [13 empty] | #N/A | #N/A | #N/A | #N/A
312 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 312 | [13 empty] | #N/A | #N/A | #N/A | #N/A
313 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 313 | [13 empty] | #N/A | #N/A | #N/A | #N/A
314 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 314 | [13 empty] | #N/A | #N/A | #N/A | #N/A
315 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 315 | [13 empty] | #N/A | #N/A | #N/A | #N/A
316 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 316 | [13 empty] | #N/A | #N/A | #N/A | #N/A
317 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 317 | [13 empty] | #N/A | #N/A | #N/A | #N/A
318 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 318 | [13 empty] | #N/A | #N/A | #N/A | #N/A
319 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 319 | [13 empty] | #N/A | #N/A | #N/A | #N/A
320 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 320 | [13 empty] | #N/A | #N/A | #N/A | #N/A
321 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 321 | [13 empty] | #N/A | #N/A | #N/A | #N/A
322 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 322 | [13 empty] | #N/A | #N/A | #N/A | #N/A
323 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 323 | [13 empty] | #N/A | #N/A | #N/A | #N/A
324 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 324 | [13 empty] | #N/A | #N/A | #N/A | #N/A
325 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 325 | [13 empty] | #N/A | #N/A | #N/A | #N/A
326 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 326 | [13 empty] | #N/A | #N/A | #N/A | #N/A
327 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 327 | [13 empty] | #N/A | #N/A | #N/A | #N/A
328 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 328 | [13 empty] | #N/A | #N/A | #N/A | #N/A
329 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 329 | [13 empty] | #N/A | #N/A | #N/A | #N/A
330 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 330 | [13 empty] | #N/A | #N/A | #N/A | #N/A
331 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 331 | [13 empty] | #N/A | #N/A | #N/A | #N/A
332 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 332 | [13 empty] | #N/A | #N/A | #N/A | #N/A
333 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 333 | [13 empty] | #N/A | #N/A | #N/A | #N/A
334 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 334 | [13 empty] | #N/A | #N/A | #N/A | #N/A
335 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 335 | [13 empty] | #N/A | #N/A | #N/A | #N/A
336 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 336 | [13 empty] | #N/A | #N/A | #N/A | #N/A
337 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 337 | [13 empty] | #N/A | #N/A | #N/A | #N/A
338 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 338 | [13 empty] | #N/A | #N/A | #N/A | #N/A
339 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 339 | [13 empty] | #N/A | #N/A | #N/A | #N/A
340 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 340 | [13 empty] | #N/A | #N/A | #N/A | #N/A
341 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 341 | [13 empty] | #N/A | #N/A | #N/A | #N/A
342 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 342 | [13 empty] | #N/A | #N/A | #N/A | #N/A
343 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 343 | [13 empty] | #N/A | #N/A | #N/A | #N/A
344 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 344 | [13 empty] | #N/A | #N/A | #N/A | #N/A
345 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 345 | [13 empty] | #N/A | #N/A | #N/A | #N/A
346 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 346 | [13 empty] | #N/A | #N/A | #N/A | #N/A
347 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 347 | [13 empty] | #N/A | #N/A | #N/A | #N/A
348 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 348 | [13 empty] | #N/A | #N/A | #N/A | #N/A
349 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 349 | [13 empty] | #N/A | #N/A | #N/A | #N/A
350 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 350 | [13 empty] | #N/A | #N/A | #N/A | #N/A
351 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 351 | [13 empty] | #N/A | #N/A | #N/A | #N/A
352 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 352 | [13 empty] | #N/A | #N/A | #N/A | #N/A
353 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 353 | [13 empty] | #N/A | #N/A | #N/A | #N/A
354 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 354 | [13 empty] | #N/A | #N/A | #N/A | #N/A
355 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 355 | [13 empty] | #N/A | #N/A | #N/A | #N/A
356 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 356 | [13 empty] | #N/A | #N/A | #N/A | #N/A
357 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 357 | [13 empty] | #N/A | #N/A | #N/A | #N/A
358 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 358 | [13 empty] | #N/A | #N/A | #N/A | #N/A
359 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 359 | [13 empty] | #N/A | #N/A | #N/A | #N/A
360 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 360 | [13 empty] | #N/A | #N/A | #N/A | #N/A
361 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 361 | [13 empty] | #N/A | #N/A | #N/A | #N/A
362 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 362 | [13 empty] | #N/A | #N/A | #N/A | #N/A
363 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 363 | [13 empty] | #N/A | #N/A | #N/A | #N/A
364 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 364 | [13 empty] | #N/A | #N/A | #N/A | #N/A
365 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 365 | [13 empty] | #N/A | #N/A | #N/A | #N/A
366 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 366 | [13 empty] | #N/A | #N/A | #N/A | #N/A
367 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 367 | [13 empty] | #N/A | #N/A | #N/A | #N/A
368 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 368 | [13 empty] | #N/A | #N/A | #N/A | #N/A
369 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 369 | [13 empty] | #N/A | #N/A | #N/A | #N/A
370 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 370 | [13 empty] | #N/A | #N/A | #N/A | #N/A
371 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 371 | [13 empty] | #N/A | #N/A | #N/A | #N/A
372 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 372 | [13 empty] | #N/A | #N/A | #N/A | #N/A
373 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 373 | [13 empty] | #N/A | #N/A | #N/A | #N/A
374 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 374 | [13 empty] | #N/A | #N/A | #N/A | #N/A
375 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 375 | [13 empty] | #N/A | #N/A | #N/A | #N/A
376 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 376 | [13 empty] | #N/A | #N/A | #N/A | #N/A
377 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 377 | [13 empty] | #N/A | #N/A | #N/A | #N/A
378 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 378 | [13 empty] | #N/A | #N/A | #N/A | #N/A
379 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 379 | [13 empty] | #N/A | #N/A | #N/A | #N/A
380 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 380 | [13 empty] | #N/A | #N/A | #N/A | #N/A
381 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 381 | [13 empty] | #N/A | #N/A | #N/A | #N/A
382 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 382 | [13 empty] | #N/A | #N/A | #N/A | #N/A
383 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 383 | [13 empty] | #N/A | #N/A | #N/A | #N/A
384 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 384 | [13 empty] | #N/A | #N/A | #N/A | #N/A
385 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 385 | [13 empty] | #N/A | #N/A | #N/A | #N/A
386 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 386 | [13 empty] | #N/A | #N/A | #N/A | #N/A
387 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 387 | [13 empty] | #N/A | #N/A | #N/A | #N/A
388 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 388 | [13 empty] | #N/A | #N/A | #N/A | #N/A
389 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 389 | [13 empty] | #N/A | #N/A | #N/A | #N/A
390 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 390 | [13 empty] | #N/A | #N/A | #N/A | #N/A
391 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 391 | [13 empty] | #N/A | #N/A | #N/A | #N/A
392 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 392 | [13 empty] | #N/A | #N/A | #N/A | #N/A
393 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 393 | [13 empty] | #N/A | #N/A | #N/A | #N/A
394 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 394 | [13 empty] | #N/A | #N/A | #N/A | #N/A
395 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 395 | [13 empty] | #N/A | #N/A | #N/A | #N/A
396 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 396 | [13 empty] | #N/A | #N/A | #N/A | #N/A
397 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 397 | [13 empty] | #N/A | #N/A | #N/A | #N/A
398 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 398 | [13 empty] | #N/A | #N/A | #N/A | #N/A
399 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 399 | [13 empty] | #N/A | #N/A | #N/A | #N/A
400 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 400 | [13 empty] | #N/A | #N/A | #N/A | #N/A
401 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 401 | [13 empty] | #N/A | #N/A | #N/A | #N/A
402 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 402 | [13 empty] | #N/A | #N/A | #N/A | #N/A
403 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 403 | [13 empty] | #N/A | #N/A | #N/A | #N/A
404 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 404 | [13 empty] | #N/A | #N/A | #N/A | #N/A
405 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 405 | [13 empty] | #N/A | #N/A | #N/A | #N/A
406 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 406 | [13 empty] | #N/A | #N/A | #N/A | #N/A
407 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 407 | [13 empty] | #N/A | #N/A | #N/A | #N/A
408 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 408 | [13 empty] | #N/A | #N/A | #N/A | #N/A
409 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 409 | [13 empty] | #N/A | #N/A | #N/A | #N/A
410 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 410 | [13 empty] | #N/A | #N/A | #N/A | #N/A
411 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 411 | [13 empty] | #N/A | #N/A | #N/A | #N/A
412 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 412 | [13 empty] | #N/A | #N/A | #N/A | #N/A
413 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 413 | [13 empty] | #N/A | #N/A | #N/A | #N/A
414 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 414 | [13 empty] | #N/A | #N/A | #N/A | #N/A
415 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 415 | [13 empty] | #N/A | #N/A | #N/A | #N/A
416 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 416 | [13 empty] | #N/A | #N/A | #N/A | #N/A
417 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 417 | [13 empty] | #N/A | #N/A | #N/A | #N/A
418 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 418 | [13 empty] | #N/A | #N/A | #N/A | #N/A
419 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 419 | [13 empty] | #N/A | #N/A | #N/A | #N/A
420 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 420 | [13 empty] | #N/A | #N/A | #N/A | #N/A
421 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 421 | [13 empty] | #N/A | #N/A | #N/A | #N/A
422 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 422 | [13 empty] | #N/A | #N/A | #N/A | #N/A
423 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 423 | [13 empty] | #N/A | #N/A | #N/A | #N/A
424 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 424 | [13 empty] | #N/A | #N/A | #N/A | #N/A
425 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 425 | [13 empty] | #N/A | #N/A | #N/A | #N/A
426 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 426 | [13 empty] | #N/A | #N/A | #N/A | #N/A
427 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 427 | [13 empty] | #N/A | #N/A | #N/A | #N/A
428 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 428 | [13 empty] | #N/A | #N/A | #N/A | #N/A
429 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 429 | [13 empty] | #N/A | #N/A | #N/A | #N/A
430 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 430 | [13 empty] | #N/A | #N/A | #N/A | #N/A
431 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 431 | [13 empty] | #N/A | #N/A | #N/A | #N/A
432 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 432 | [13 empty] | #N/A | #N/A | #N/A | #N/A
433 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 433 | [13 empty] | #N/A | #N/A | #N/A | #N/A
434 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 434 | [13 empty] | #N/A | #N/A | #N/A | #N/A
435 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 435 | [13 empty] | #N/A | #N/A | #N/A | #N/A
436 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 436 | [13 empty] | #N/A | #N/A | #N/A | #N/A
437 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 437 | [13 empty] | #N/A | #N/A | #N/A | #N/A
438 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 438 | [13 empty] | #N/A | #N/A | #N/A | #N/A
439 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 439 | [13 empty] | #N/A | #N/A | #N/A | #N/A
440 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 440 | [13 empty] | #N/A | #N/A | #N/A | #N/A
441 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 441 | [13 empty] | #N/A | #N/A | #N/A | #N/A
442 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 442 | [13 empty] | #N/A | #N/A | #N/A | #N/A
443 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 443 | [13 empty] | #N/A | #N/A | #N/A | #N/A
444 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 444 | [13 empty] | #N/A | #N/A | #N/A | #N/A
445 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 445 | [13 empty] | #N/A | #N/A | #N/A | #N/A
446 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 446 | [13 empty] | #N/A | #N/A | #N/A | #N/A
447 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 447 | [13 empty] | #N/A | #N/A | #N/A | #N/A
448 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 448 | [13 empty] | #N/A | #N/A | #N/A | #N/A
449 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 449 | [13 empty] | #N/A | #N/A | #N/A | #N/A
450 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 450 | [13 empty] | #N/A | #N/A | #N/A | #N/A
451 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 451 | [13 empty] | #N/A | #N/A | #N/A | #N/A
452 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 452 | [13 empty] | #N/A | #N/A | #N/A | #N/A
453 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 453 | [13 empty] | #N/A | #N/A | #N/A | #N/A
454 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 454 | [13 empty] | #N/A | #N/A | #N/A | #N/A
455 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 455 | [13 empty] | #N/A | #N/A | #N/A | #N/A
456 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 456 | [13 empty] | #N/A | #N/A | #N/A | #N/A
457 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 457 | [13 empty] | #N/A | #N/A | #N/A | #N/A
458 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 458 | [13 empty] | #N/A | #N/A | #N/A | #N/A
459 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 459 | [13 empty] | #N/A | #N/A | #N/A | #N/A
460 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 460 | [13 empty] | #N/A | #N/A | #N/A | #N/A
461 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 461 | [13 empty] | #N/A | #N/A | #N/A | #N/A
462 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 462 | [13 empty] | #N/A | #N/A | #N/A | #N/A
463 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 463 | [13 empty] | #N/A | #N/A | #N/A | #N/A
464 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 464 | [13 empty] | #N/A | #N/A | #N/A | #N/A
465 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 465 | [13 empty] | #N/A | #N/A | #N/A | #N/A
466 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 466 | [13 empty] | #N/A | #N/A | #N/A | #N/A
467 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 467 | [13 empty] | #N/A | #N/A | #N/A | #N/A
468 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 468 | [13 empty] | #N/A | #N/A | #N/A | #N/A
469 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 469 | [13 empty] | #N/A | #N/A | #N/A | #N/A
470 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 470 | [13 empty] | #N/A | #N/A | #N/A | #N/A
471 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 471 | [13 empty] | #N/A | #N/A | #N/A | #N/A
472 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 472 | [13 empty] | #N/A | #N/A | #N/A | #N/A
473 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 473 | [13 empty] | #N/A | #N/A | #N/A | #N/A
474 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 474 | [13 empty] | #N/A | #N/A | #N/A | #N/A
475 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 475 | [13 empty] | #N/A | #N/A | #N/A | #N/A
476 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 476 | [13 empty] | #N/A | #N/A | #N/A | #N/A
477 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 477 | [13 empty] | #N/A | #N/A | #N/A | #N/A
478 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 478 | [13 empty] | #N/A | #N/A | #N/A | #N/A
479 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 479 | [13 empty] | #N/A | #N/A | #N/A | #N/A
480 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | [13 empty] | #N/A | #N/A | #N/A | #N/A
481 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 481 | [13 empty] | #N/A | #N/A | #N/A | #N/A
482 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 482 | [13 empty] | #N/A | #N/A | #N/A | #N/A
483 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 483 | [13 empty] | #N/A | #N/A | #N/A | #N/A
484 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 484 | [13 empty] | #N/A | #N/A | #N/A | #N/A
485 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 485 | [13 empty] | #N/A | #N/A | #N/A | #N/A
486 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 486 | [13 empty] | #N/A | #N/A | #N/A | #N/A
487 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 487 | [13 empty] | #N/A | #N/A | #N/A | #N/A
488 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 488 | [13 empty] | #N/A | #N/A | #N/A | #N/A
489 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 489 | [13 empty] | #N/A | #N/A | #N/A | #N/A
490 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 490 | [13 empty] | #N/A | #N/A | #N/A | #N/A
491 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 491 | [13 empty] | #N/A | #N/A | #N/A | #N/A
492 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 492 | [13 empty] | #N/A | #N/A | #N/A | #N/A
493 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 493 | [13 empty] | #N/A | #N/A | #N/A | #N/A
494 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 494 | [13 empty] | #N/A | #N/A | #N/A | #N/A
495 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 495 | [13 empty] | #N/A | #N/A | #N/A | #N/A
496 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 496 | [13 empty] | #N/A | #N/A | #N/A | #N/A
497 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 497 | [13 empty] | #N/A | #N/A | #N/A | #N/A
498 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 498 | [13 empty] | #N/A | #N/A | #N/A | #N/A
499 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 499 | [13 empty] | #N/A | #N/A | #N/A | #N/A
500 | [13 empty] | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 500 | [13 empty] | #N/A | #N/A | #N/A | #N/A

## Calibration Results
LOAD CELL INFORMATION
Manufacturer:
Model:
Serial No.:
FSEL Inventory Number:
Rated Capacity:
Calibration Range:
Calibration Mode:
DATA ACQUISITION USED FOR CALIBRATION
Manufacturer:
Model:
Serial No.:
Channel:
Nominal Excitation Voltage:
CALIBRATION DATA
Run 1 |  |  | Run 2
Applied Load | Indicated Load | Error | Applied Load | Indicated Load | Error
[lbf] | [lbf] | [% of Full Scale] | [lbf] | [lbf] | [% of Full Scale]
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
|  | #VALUE! |  |  | #VALUE!
=> Note: Add or subtract rows as needed to show all calibration data.
CALIBRATION RESULTS
For Agilent Hardware: |  |  | For Campbell Scientific Hardware:
| Range, lbf = | 500000 |  | Nominal Excitation Voltage, mV = | 5000
| Sensitivity, mV/V = | #DIV/0! |  | Scaling Factor, lbf/mV/V = | #DIV/0!
| Maximum Error, % Full Scale = | 0
| Maximum Error, lb = | 0
For National Instruments Hardware:
|  |  |  | Nominal Excitation Voltage, V = | 10
|  |  |  | Scaling Factor, kip/V/V = | #DIV/0!
CALIBRATION STANDARDS
Manufacturer | Model | Serial No. | Class A Range |  | Due Date
Strainsense | SS104C | 840521(LO) | 716.2 to 10,000 lbs
strainsense | SS104C | 840521(HI) | 2692 to 100,000 lbs
Strainsense | SS105C | 821204 | 45000 to 1,000,000 lbs
OPERATOR
Signature: |  |  |  | Date:

## Revision Record
Revision | Date | Affected Pages | Description of Revisions
0 | 2016-03-10 | All | Initial Issue
1 | 2014-05-18 | Notes | Added instructions for calibration with Campbell Scientific dataloggers
2 | 2016-11-14 | Calibration Results | Added entry for FSEL inventory number
3 | 2018-03-08 | Input | Add input for excitiation voltage at each measurement point